## Reconcillation -Original cost
DESCRIPTION | MAN'R | UNIT | QTY | U/RATE | AMOUNT | PROJECT | TYPE | DATE | SOURCE
mobilization |  | lot | 1 | 50000 | 50000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Mobilization/Demobilization & Housekeeping |  | Inhouse
demobilization/housekeeping |  | lot | 1 | 50000 | 50000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Mobilization/Demobilization & Housekeeping |  | Inhouse
cotton gloves |  | pair | 480 | 27 | 12960 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Safety Provisions |  | Inhouse
dust mask |  | bxs | 5 | 277 | 1385 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Safety Provisions |  | Inhouse
caution tape |  | roll | 1 | 1384 | 1384 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Safety Provisions |  | Inhouse
safety signages | ` | lot | 1 | 5000 | 5000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Safety Provisions |  | Inhouse
fire blanket |  | pcs | 6 | 3500 | 21000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Safety Provisions |  | Inhouse
welding blanket |  | pcs | 6 | 3500 | 21000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Safety Provisions |  | Inhouse
cip suit(16 person) |  | set | 34 | 2000 | 68000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Safety Provisions |  | Inhouse
construction board |  | lot | 1 | 10000 | 10000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Safety Provisions |  | Inhouse
gtaw or tig welding machine |  | unit | 3 | 15000 | 45000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Tools & Equipment Rentals |  | Inhouse
portable grinders 7"ø with double insulation standard |  | unit | 2 | 3000 | 6000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Tools & Equipment Rentals |  | Inhouse
portable grinders 4"ø with double insulation standard |  | unit | 2 | 3000 | 6000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Tools & Equipment Rentals |  | Inhouse
scaffolding - rental |  | lot | 1 | 50000 | 50000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Tools & Equipment Rentals |  | Inhouse
extension ladders with certificate |  | unit | 2 | 15000 | 30000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Tools & Equipment Rentals |  | Inhouse
hand tools (complete set of combination wrenches) metric and english standard |  | lot | 2 | 3000 | 6000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Tools & Equipment Rentals |  | Inhouse
welding panel (both for 440 and 220 volts supply ) |  | unit | 1 | 10000 | 10000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Tools & Equipment Rentals |  | Inhouse
cip pump,35m3/hr ,40m head |  | set | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
manual valves,dn80,pn40,lotto type (inlet and outlet pipe),weld end type |  | pcs | 2 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
manual valves,dn25,pn40),lotto type,(drain valves)weld end type |  | pcs | 2 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
ss check valve dn80,pn40, ,wafer type |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn80,pn40, slip on flange,ss 304,with bolts and nuts and gasket |  | pair | 6 | 12000 | 72000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
ss braided flexible hose,ss 304, flange type, slip on flange connection,dn80,pn40 |  | pcs | 2 | 12000 | 24000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
tee reducer, 3" x 1" , ss 304,sch 40, seamless, weld end type |  | pcs | 4 | 750 | 3000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
tee reducer, 3" x 1/2" , ss 304,sch 40, seamless, weld end type |  | pcs | 2 | 850 | 1700 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
nipple,1/2" dia x 4 cm le ,ss 304,sch 40, seamless, threaded end type |  | pcs | 2 | 200 | 400 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pressure gauge - 20 bars |  | pcs | 2 | 2500 | 5000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pressure gauge assembly fittings (pigtail,nipple,etc.) |  | Set | 2 | 3000 | 6000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
3" sms union, ss 304 |  | pcs | 3 | 2500 | 7500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
eccentric reducer,3" x 2 1/2" , ss 304,sch 40, seamless, weld end type |  | pcs | 2 | 2500 | 5000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
supports and brackets |  | lot | 1 | 25000 | 25000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pneumatic valves,dn80,pn40 , - butterfly valve type |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn80,pn40, slip on flange,ss 304,with bolts(12cm length) and nuts and gasket |  | pair | 1 | 19500 | 19500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
concentric reducer,4" x 3" , ss 304,sch 40, seamless, weld end type |  | pcs | 1 | 2500 | 2500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
elbow 90 deg, 3", ss 304, sch 40, seamless, weld end type |  | pcs | 2 | 750 | 1500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pneumatic valves,dn80,pn40 , - butterfly valve type |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn80,pn40, slip on flange,ss 304,with bolts(12cm length) and nuts and gasket |  | pair | 1 | 19500 | 19500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn200,pn40, slip on flange,ss 304,with bolts and nuts and gasket |  | pair | 1 | 25000 | 25000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
tee 8", ss 304,sch 40, seamless, weld end type |  | pcs | 1 | 2500 | 2500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
tee reducer,8" x 3" , ss 304,sch 40, seamless, weld end type |  | pcs | 1 | 2500 | 2500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
elbow 90 deg, 3", ss 304, sch 40, seamless, weld end type |  | pcs | 2 | 750 | 1500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn80,pn40 ,pneumatic valves - butterfly valve type |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn80,pn40, slip on flange,ss 304,with bolts(12cm length) and nuts and gasket |  | pair | 1 | 19500 | 19500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn200,pn40, slip on flange,ss 304,with bolts and nuts and gasket |  | pair | 1 | 25000 | 25000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
tee reducer,8" x 3" , ss 304,sch 40, seamless, weld end type |  | pcs | 1 | 2500 | 2500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
elbow 90 deg, 3", ss 304, sch 40, seamless, weld end type |  | pcs | 2 | 750 | 1500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pneumatic valves,dn80,pn40 , - butterfly valve type |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn200,pn40, slip on flange,ss 304,with bolts and nuts and gasket |  | pair | 1 | 25000 | 25000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
concentric reducer,8" x 3" , ss 304,sch 40, seamless, weld end type |  | pcs | 1 | 2500 | 2500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn80,pn40, slip on flange,ss 304,with bolts(12cm length) and nuts and gasket |  | pair | 1 | 19500 | 19500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
elbow 90 deg, 3", ss 304, sch 40, seamless, weld end type |  | pcs | 6 | 750 | 4500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
tee reducer,8" x 3" , ss 304,sch 40, seamless, weld end type |  | pcs | 1 | 2500 | 2500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
manual valves,dn25,pn40,ss 304,3 piece assembly ,lotto type,weld end type (drain valves) |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pipe, 3", sch 40, ss 304, seamless |  | length | 10 | 25000 | 250000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
tee 3" , ss 304,sch 40, seamless, weld end type |  | pcs | 3 | 2500 | 7500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
tee reducer, 3" x 1" , ss 304,sch 40, seamless, weld end type |  | pcs | 1 | 2500 | 2500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
elbow 90 deg, 3", ss 304, sch 40, seamless, weld end type |  | pcs | 4 | 750 | 3000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
elbow 45 deg, 3", ss 304, sch 40, seamless, weld end type |  | pcs | 6 | 750 | 4500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn80,pn40, slip on flange,ss 304,with bolts and nuts and gasket |  | pair | 10 | 19500 | 195000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
supports and brackets |  | lot | 1 | 25000 | 25000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pneumatic valves,dn80,pn40 , - butterfly valve type |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
manual valves,dn80,pn40,lotto type ),weld end type |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn80, flow indicator transmitter |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn25,pn40),manual valves, 3 piece assembly,lotto type,weld end type,(drain valves) |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
dn80,pn40, slip on flange,ss 304,with bolts and nuts and gasket |  | pair | 6 | 12000 | 72000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pipes, 3" ss 304,seamless,weld end |  | length | 13 | 25000 | 325000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pipes, 1" ss 304,seamless,weld end |  | length | 2 | 8500 | 17000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
3" ss tee, ss 304, sch 40, seamless,weld end |  | pcs | 4 | 1950 | 7800 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
3" 90 deg elbow,sch 40,ss 304seamless, weld end |  | pcs | 25 | 1200 | 30000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
3" 45 deg elbow,sch 40,ss 304seamless, weld end |  | pcs | 14 | 900 | 12600 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
1" elbow,sch 40,ss 304seamless, weld end |  | pcs | 10 | 900 | 9000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
tee reducer, 3" x 1" , ss 304,sch 40, seamless, weld end type |  | pcs | 1 | 2500 | 2500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
supports and brackets |  | lot | 1 | 25000 | 25000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
air filter |  | pcs | 1 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pressure gauge - 10 bars |  | pcs | 2 | 2500 | 5000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pressure gauge assembly fittings (nipple,etc.) |  | Set | 2 | 1500 | 3000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
pipes, 1/2" ,b.i.,sch 40,seamless,weld end |  | length | 6 | 5500 | 33000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
tee reducer, 1" x 1/2" , b.i.,sch 40, seamless, weld end type |  | pcs | 1 | 750 | 750 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
1/2" ball valve,3 piece assembly,ss 304,weld end type |  | pcs | 2 |  |  | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
paint,blue,ral 5009 |  | gal | 1 | 5000 | 5000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
supports and brackets |  | lot | 1 |  | 0 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Materials |  | Inhouse
cutting discs, 7"ø, "tyrolit" brand, 8,600 rated rpm |  | pcs | 20 | 150 | 3000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
cutting discs, 4"ø, "tyrolit" brand, 15,300 rated rpm |  | pcs | 100 | 97 | 9700 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
grinding discs, 4"ø, "tyrolit" brand, 15,300 rated rpm |  | pcs | 100 | 102 | 10200 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
grinding discs, 7"ø, "tyrolit" brand, 8,600 rated rpm |  | pcs | 5 | 162 | 810 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
tungsten |  | pcs | 20 | 98 | 1960 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
ss filler rod, 304 |  | kgs | 25 | 2100 | 52500 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
ss welding rods, 1/8"ø |  | kgs | 15 | 480 | 7200 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
teflon tape |  | roll | 10 | 18 | 180 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
argon gas |  | cyl | 35 | 4958 | 173530 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
tig cleene |  | kgs | 2 | 600 | 1200 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
buffing soap |  | pcs | 2 | 360 | 720 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
sand paper, # 120 |  | pcs | 50 | 18 | 900 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
sans paper, # 400 |  | pcs | 50 | 18 | 900 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
flap wheel, 4"ø |  | pcs | 20 | 336 | 6720 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
oxygen |  | cyl | 2 | 600 | 1200 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
acetylene |  | cyl | 1 | 1285 | 1285 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
miscelleneous |  | lot | 1 | 50000 | 50000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Consumables |  | Inhouse
project manager | 1 | days | 6 | 1500 | 9000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Labor |  | Inhouse
project engineer | 1 | days | 40 | 1200 | 48000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Labor |  | Inhouse
quality officer | 1 | days | 40 | 1000 | 40000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Labor |  | Inhouse
safety officer | 1 | days | 40 | 1000 | 40000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Labor |  | Inhouse
foreman | 1 | days | 40 | 950 | 38000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Labor |  | Inhouse
fabricators/fitter | 2 | days | 40 | 900 | 72000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Labor |  | Inhouse
welders | 3 | days | 40 | 900 | 108000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Labor |  | Inhouse
skilled helpers/scaffolders | 7 | days | 40 | 850 | 238000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Labor |  | Inhouse
electrician | 1 | days | 40 | 850 | 34000 | INDEPENDENT CIP EVAPORATOR -CIR RETURN LINE GOING TO IS 400M3 TANK | Labor |  | Inhouse