## orig bids (in-house + contr)
F O R M S
BID BREAKDOWN DATA SHEET
PROJECT TITLE: | [21 empty] | Date: | 2023-07-24
SUPPLY OF MATERIALS, LABOR, CONSUMABLES, TOOLS, TECHNICAL SUPERVISION, TESTING AND COMMISSIONING FOR THE PROPOSED E54 Upgradation of SIR System - SIR Tank improvements and rationalization of clarifiers
COST CENTER: | [21 empty] | Reference:
Original bids (in-house) + original bids (contractors)
|  |  |  | In-House |  |  |  |  | Megantech |  |  |  |  | G&R |  |  |  |  | MOBI | FEDCON
ITEM NO. | DESCRIPTION |  |  | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT |  | Man'r | Unit | Qty | UNIT COST | AMOUNT
A. | GENERAL REQUIREMENTS | [17 empty] | No quotation submitted | No quotation submitted
1 | Mobilization/Temfacil/Housing, Personnel travel, etc. |  |  |  | lot | 1 | 50000 | 50000 |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 100000 | 100000
| Demobilization |  |  |  | lot | 1 | 30000 | 30000 |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 50000 | 50000
2 | Safety Provisions | [13 empty] | lot | 1 | 30000 | 30000
| a. Rubber Gloves |  |  |  | pairs | 150 | 25 | 3750 |  | pairs | 36 | 185 | 6660 |  | pairs |  |  | 0
| b. Dust Mask N95 |  |  |  | bxs | 25 | 187.5 | 4687.5 |  | bxs | 30 | 550 | 16500 |  | bxs |  |  | 0
| c. Caution Tape |  |  |  | roll | 2 | 1500 | 3000 |  | roll | 2 | 2800 | 5600 |  | roll |  |  | 0
| d. Safety Signages |  |  |  | lot | 1 | 12500 | 12500 |  | lot | 1 | 3000 | 3000 |  | lot |  |  | 0
| e. Fire Blanket (Size: 2m x 2m, temperatures up to 500°C Maximum) |  |  |  | pcs | 5 | 5000 | 25000 |  | pcs | 4 | 4500 | 18000 |  | pcs |  |  | 0
| f. Welding blanket Size: 2m x 2m, Minimum Type Rating = Heavy Duty = 1200 - 1500°C) |  |  |  | pcs | 5 | 5000 | 25000 |  | pcs | 4 | 4500 | 18000 |  | pcs |  |  | 0
3 | Tools & Equipment Rentals
| GTAW or Tig welding machine |  |  |  | unit | 5 | 5000 | 25000 |  | unit | 4 | 7500 | 30000 |  | unit | 3 | 15000 | 45000
| Portable Grinders 7"Ø with double insulation standard |  |  |  | unit | 3 | 3125 | 9375 |  | unit | 2 | 2500 | 5000 |  | unit | 2 | 10000 | 20000
| Portable Grinders 4"Ø with double insulation standard |  |  |  | unit | 5 | 1857 | 9285 |  | unit | 3 | 1200 | 3600 |  | unit | 4 | 7000 | 28000
| Extension wire |  |  |  | unit | 2 | 2500 | 5000 |  | unit | 4 | 2800 | 11200 |  | unit | 3 | 4000 | 12000
| Hand Tools (Complete set of combination wrenches) metric and english standard |  |  |  | lot | 1 | 1500 | 1500 |  | lot | 1 | 8500 | 8500 |  | lot | 1 | 5000 | 5000
| Welding Panel (both for 440 and 220 volts supply ) |  |  |  | unit | 1 | 6250 | 6250 |  | unit | 1 | 5000 | 5000 |  | unit | 1 | 20000 | 20000
| Scaffolding with blind caps |  |  |  | lot | 1 | 31250 | 31250 |  | lot | 1 | 45000 | 45000 |  | lot | 1 | 40000 | 40000
| Chain block (1/2 T) with complete accessories |  |  |  | lot | 1 | 3750 | 3750 |  | lot | 1 | 5000 | 5000 |  | lot | 2 | 5000 | 10000
| Enclosure (scaffolding and tarp) |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 3000 | 3000
| Lighting |  |  |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 5000 | 5000
| Exhaust fan with duct and filte box |  |  |  | lot | 1 | 3500 | 3500 |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 8000 | 8000
| Supply fan |  |  |  | lot | 1 | 2500 | 2500 |  | lot | 1 | 8500 | 8500 |  | lot | 1 | 3000 | 3000
| Pipe Bender |  |  |  | lot | 1 | 1500 | 1500 |  | lot | 1 | 2500 | 2500 |  | lot | 1 | 30000 | 30000
| Asbuilt drawing |  |  |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 20000 | 20000
| Sub-Total | [6 empty] | 272847.5 |  |  |  |  | 277060 |  |  |  |  | 429000
B. | Improvement of SIR tank platform and railings
Main Scope 01 - Weighing system + SIR Tank improvements
1 | SS304 2mm thk Cladding with preformed rockwool insulation 50mm thk x 1m (tank cladding) |  |  |  | lot | 1 | 30000 | 30000 |  | lot | 1 | 120000 | 120000 |  | lot | 1 | 150000 | 150000
2 | SS304 Pipe 150mm dia. X sch. 40 x 6m, see drawing detail of elevation (tank leg) |  |  |  | Lngth | 3 | 43200 | 129600 |  | Lngth | 2 | 58514.5 | 117029 |  | Lngth | 1 | 50000 | 50000
3 | SS304 Pipe 100mm dia. X sch. 40 x 6m, see drawing detail of elevation (tank leg) |  |  |  | Lngth | 2 | 24000 | 48000 |  | Lngth | 2 | 33341 | 66682 |  | Lngth | 1 | 35000 | 35000
4 | Pedestal, see drawing detail of elevation (tank leg) |  |  |  | pcs | 3 | 15000 | 45000 |  | pcs | 3 | 27500 | 82500 |  | pcs | 3 | 30000 | 90000
5 | SS304 Plate 20mm thk, see drawing detail of lifting lug (test stone lifting lug) |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 65000 | 65000 |  | lot | 1 | 35000 | 35000
6 | SS304 Doubler Plate 8mm thk, see drawing detail of lifting lug (test stone lifting lug) |  |  |  | lot | 1 | 8000 | 8000 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 15000 | 15000
7 | SS304 Ball valve "brand: valtaco", see drawing detail of drain (sampling valve) NPI TO SUPPLY
8 | SS304 Plate 15mm thk, see drawing detail of leg bracket detail (load cell bracket) |  |  |  | lot | 1 | 13000 | 13000 |  | lot | 1 | 45000 | 45000 |  | lot | 1 | 60000 | 60000
9 | SS304 Plate 12mm thk, see drawing detail of leg bracket detail (load cell bracket) |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 42000 | 42000 |  | lot | 1 | 15000 | 15000
10 | SS304 Plate 10mm thk, see drawing detail of leg bracket detail (load cell bracket) |  |  |  | lot | 1 | 8000 | 8000 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 15000 | 15000
11 | SS304 Doubler Plate 8mm thk, see drawing detail of leg bracket detail (load cell bracket) |  |  |  | lot | 1 | 8000 | 8000 |  | lot | 1 | 22500 | 22500 |  | lot | 1 | 15000 | 15000
12 | SS304 Bolt M24 and nut, see drawing detail of leg bracket (load cell bracket) |  |  |  | lot | 1 | 7500 | 7500 |  | lot | 1 | 15200 | 15200 |  | lot | 1 | 5000 | 5000
13 | SS304 Plate 20mm thk, see drawing detail of item 2 (tank leg plate) |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 55000 | 55000 |  | lot | 1 | 10000 | 10000
14 | SS304 Bolt 25mm dia, see drawing detail of item 2 (tank leg adjusting bolt) |  |  |  | lot | 1 | 9000 | 9000 |  | lot | 1 | 28000 | 28000 |  | lot | 1 | 5000 | 5000
15 | SS304 Plate 20mm thk, see drawing detail of item 2 (tank leg adjusting bolt plate) |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 65000 | 65000 |  | lot | 1 | 15000 | 15000
16 | SS304 Plate 23mm thk, see drawing detail of item 3 (tank leg adjuster) |  |  |  | lot | 1 | 14000 | 14000 |  | lot | 1 | 22000 | 22000 |  | lot | 1 | 15000 | 15000
17 | SS304 Rod 73mm dia, see drawing detail of item 3 (tank leg adjuster) |  |  |  | lot | 1 | 6000 | 6000 |  | lot | 1 | 65323.5 | 65323.5 |  | lot | 1 | 15000 | 15000
18 | Food grade, high temp and chemical resistance manhole, see drawing detail of manhole |  |  |  | lot | 1 | 75000 | 75000 |  | lot | 1 | 85000 | 85000 |  | lot | 1 | 10000 | 10000
| Sub-Total | [6 empty] | 441100 |  |  |  |  | 946234.5 |  |  |  |  | 555000
Sub Scope 01 - Replacement of flooring, installation of toe board and replacement of railing system
1 | SS304 Checkered plate 6mm thk x 4' x 8' (flooring and toeboard) |  |  |  | Sht | 10 | 35000 | 350000 |  | Sht | 7 | 68887.5 | 482212.5 |  | Sht | 4 | 36000 | 144000
2 | SS304 Flat bar 50mm x 10mm thk x 6m (post and mid-rail) |  |  |  | Lngth | 3 | 7500 | 22500 |  | Lngth | 6 | 3674 | 22044 |  | Lngth | 3 | 8000 | 24000
3 | SS304 IDF Tube 50mm dia. x 6 (frame hand rail) |  |  |  | Lngth | 2 | 7500 | 15000 |  | Lngth | 5 | 13750 | 68750 |  | Lngth | 1 | 3000 | 3000
4 | SS304 Flat bar 150mmx6mx5mm thk | [13 empty] | Lngth | 1 | 8000 | 8000
| Sub-Total | [6 empty] | 387500 |  |  |  |  | 573006.5 |  |  |  |  | 179000
Sub Scope 02 - Repainting of existing platform framing
1 | Painting |  |  |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 21000 | 21000 |  | lot | 1 | 10000 | 10000
2 | Cap brush |  |  |  | lot | 1 | 8000 | 8000 |  | lot | 1 | 2500 | 2500 |  | lot | 1 | 5000 | 5000
| Sub-Total | [6 empty] | 33000 |  |  |  |  | 23500 |  |  |  |  | 15000
Sub Scope 03 - Replacement of maintenance platform
1 | SS304 Checkered plate 6mm thk x 4' x 8' (flooring and toeboard) |  |  |  | Sht | 2 | 57500 | 115000 |  | Sht | 2 | 68887.5 | 137775 |  | Sht | 2 | 36000 | 72000
| railings, toe board and monkey ladder | [13 empty] | lot | 1 | 20000 | 20000
| Sub-Total | [6 empty] | 115000 |  |  |  |  | 137775 |  |  |  |  | 92000
Sub Scope 04 - Installation of metallic flexible joints and repiping
1 | SS304 flexible hose 1.5" dia. |  |  |  | pcs | 4 | 10000 | 40000 |  | pcs | 5 | 3800 | 19000 |  | pcs | 2 | 5000 | 10000
2 | SS304 SMS union 2" dia. |  |  |  | pcs | 8 | 2800 | 22400 |  | pcs | 6 | 2310 | 13860 |  | pcs | 4 | 5000 | 20000
3 | SS304 elbow 1.5" dia. Sch40 |  |  |  | pcs | 15 | 800 | 12000 |  | pcs | 6 | 325 | 1950 |  | pcs | 4 | 2000 | 8000
4 | SS304 pipe 1.5" dia. Sch40 |  |  |  | lngth | 3 | 21600 | 64800 |  | lngth | 3 | 7975 | 23925 |  | lngth | 1 | 7000 | 7000
| Sub-Total | [6 empty] | 139200 |  |  |  |  | 58735 |  |  |  |  | 45000
Sub Scope 05 - Extension of pipes and improvement of stirrer
1 | SS304 IDF tube 5" dia. |  |  |  | lngth | 1 | 25000 | 25000 |  | lngth | 1 | 42350 | 42350 |  | lngth | 3 | 50000 | 150000
2 | SS304 Plate 4mm thk x 4' x 8' |  |  |  | sht | 2 | 22420 | 44840 |  | sht | 1 | 24200 | 24200 |  | sht | 1 | 24000 | 24000
| Sub-Total | [6 empty] | 69840 |  |  |  |  | 66550 |  |  |  |  | 174000
Sub Scope 06 - Installation of tagging
1 | Tagging of tank, stirrer, pump, piping and platform |  |  |  | lot | 1 | 35000 | 35000 |  | lot | 1 | 8000 | 8000 |  | lot | 1 | 20000 | 20000
| Sub-Total | [6 empty] | 35000 |  |  |  |  | 8000 |  |  |  |  | 20000
C. | Rationalization of clarifiers
Main Scope 01 - Clarifiers improvements
Blowdown pipes improvements
1 | SS304 IDF tube 4" dia. |  |  |  | Lngth | 7 | 20000 | 140000 |  | Lngth | 3 | 27500 | 82500 |  | Lngth | 4 | 40000 | 160000
2 | SS304 Manual diverter valve 4" dia. |  |  |  | pcs | 2 | 16000 | 32000 |  | pcs | 2 | 65000 | 130000 |  | pcs | 2 | 20000 | 40000
3 | SS304 SMS union 4" dia. |  |  |  | pcs | 11 | 5600 | 61600 |  | pcs | 12 | 4620 | 55440 |  | pcs | 6 | 8000 | 48000
4 | SS304 Plate 10mm thk (support plate) |  |  |  | lot | 1 | 12000 | 12000 |  | lot | 1 | 35500 | 35500 |  | lot | 1 | 20000 | 20000
5 | SS304 IDF elbow 4" dia. |  |  |  | pcs | 14 | 1300 | 18200 |  | pcs | 6 | 1347.5 | 8085 |  | pcs | 5 | 5000 | 25000
6 | SS304 Rod and hook 10mm dia. (pipe support) |  |  |  | lot | 1 | 30000 | 30000 |  | lot | 8 | 8500 | 68000 |  | lot | 1 | 10000 | 10000
7 | BFM (inlet connection of tanks) |  |  |  | pcs | 9 | 10000 | 90000 |  | pcs | 8 | 15000 | 120000 |  | pcs | 14 | 5000 | 70000
8 | BFM Clamp (inlet connection of tanks) |  |  |  | pcs | 9 | 5000 | 45000 |  | pcs | 8 | 2250 | 18000 |  | pcs | 7 | 8000 | 56000
9 | SS 304 IDF Tube 8" dia. |  |  |  | Lngth | 0 | 0 | 0 | [6 empty] | lot | 1 | 80000 | 80000
Clarifier inlet pipes improvements
1 | SS304 IDF tube 4" dia. |  |  |  | Lngth | 2 | 20000 | 40000 |  | Lngth | 2 | 27500 | 55000 |  | Lngth | 2 | 40000 | 80000
2 | SS304 IDF elbow 4" dia. |  |  |  | pcs | 8 | 1300 | 10400 |  | pcs | 6 | 1347.5 | 8085 |  | pcs | 4 | 5000 | 20000
3 | SS304 IDF tee 4" dia. |  |  |  | pcs | 4 | 1200 | 4800 |  | pcs | 4 | 1815 | 7260 |  | pcs | 4 | 6000 | 24000
| Sub-Total | [6 empty] | 484000 |  |  |  |  | 587870 |  |  |  |  | 633000
D. | CONSUMABLES FOR DOC. NO. 04,05,07,09,12,25 & 27
1 | Cutting Discs, 7"Ø, "Tyrolit" brand, 8,600 rated rpm |  |  |  | pcs | 30 | 260 | 7800 |  | pcs | 50 | 142 | 7100 |  | pcs | 30 | 260 | 7800
2 | Cutting Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm |  |  |  | pcs | 100 | 160 | 16000 |  | pcs | 100 | 95 | 9500 |  | pcs | 100 | 160 | 16000
3 | Grinding Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm |  |  |  | pcs | 20 | 160 | 3200 |  | pcs | 30 | 195 | 5850 |  | pcs | 20 | 160 | 3200
4 | Tungsten Rod |  |  |  | pcs | 20 | 50 | 1000 |  | pcs | 12 | 210 | 2520 |  | pcs | 20 | 50 | 1000
5 | SS304 Filler Rod |  |  |  | kgs | 15 | 500 | 7500 |  | kgs | 30 | 755 | 22650 |  | kgs | 15 | 500 | 7500
6 | Tig cleene |  |  |  | jar | 2 | 2500 | 5000 |  | jar | 3 | 2800 | 8400 |  | jar | 2 | 2500 | 5000
7 | Argon Gas |  |  |  | cyl | 20 | 3500 | 70000 |  | cyl | 10 | 3200 | 32000 |  | cyl | 20 | 3500 | 70000
8 | Sand Paper, # 120 |  |  |  | pcs | 50 | 30 | 1500 |  | pcs | 50 | 28 | 1400 |  | pcs | 50 | 30 | 1500
9 | Sand Paper, # 400 |  |  |  | pcs | 50 | 30 | 1500 |  | pcs | 50 | 32 | 1600 |  | pcs | 50 | 30 | 1500
10 | Flap Wheel, 4"Ø |  |  |  | pcs | 50 | 350 | 17500 |  | pcs | 10 | 250 | 2500 |  | pcs | 50 | 350 | 17500
11 | Drill bit |  |  |  | lot | 1 | 3000 | 3000 |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 3000 | 3000
12 | Sika flex (gray) |  |  |  | Tube | 2 | 3000 | 6000 |  | Tube | 15 | 850 | 12750 |  | Tube | 2 | 3000 | 6000
13 | Miscelleneous |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 15000 | 15000 |  | lot | 1 | 10000 | 10000
| Sub-Total | [6 empty] | 150000 |  |  |  |  | 126270 |  |  |  |  | 150000
E. | LABOR COSTING FOR FABRICATION
| Project Engineer |  |  | 1 | days | 14 | 1000 | 14000 | 1 | days | 15 | 1692.19 | 25382.81 | 1 | days | 20 | 1500 | 30000
| Quality Officer |  |  | 1 | days | 14 | 900 | 12600 | 1 | days | 3 | 1514.06 | 4542.19 | 1 | days | 20 | 1400 | 28000
| Fabricators/Fitter |  |  | 4 | days | 14 | 600 | 33600 | 2 | days | 15 | 1346.63 | 40398.75 | 2 | days | 20 | 1300 | 52000
| Welders |  |  | 4 | days | 14 | 650 | 36400 | 3 | days | 15 | 1346.63 | 60598.13 | 4 | days | 20 | 1100 | 88000
| Sub-Total |  |  | 10 |  |  |  | 96600 | 7 |  |  |  | 130921.88 | 8 |  |  |  | 198000
F. | LABOR COSTING FOR INSTALLATION (with overtime)
| Project Engineer |  |  | 1 | days | 21 | 1500 | 31500 | 1 | days | 21 | 1692.19 | 35535.94 | 1 | days | 23 | 1500 | 34500
| Quality Officer |  |  | 2 | days | 21 | 1350 | 56700 | 1 | days | 21 | 1514.06 | 31795.31 | 1 | days | 23 | 1400 | 32200
| Safety Officer |  |  | 2 | days | 21 | 1350 | 56700 | 1 | days | 21 | 1514.06 | 31795.31 | 1 | days | 23 | 1400 | 32200
| Foreman |  |  | 2 | days | 21 | 1350 | 56700 | 1 | days | 21 | 1514.06 | 31795.31 | 1 | days | 23 | 1300 | 29900
| Fabricators/Fitter |  |  | 3 | days | 21 | 900 | 56700 | 4 | days | 21 | 1346.63 | 113116.5 | 2 | days | 23 | 1300 | 59800
| Welders |  |  | 3 | days | 21 | 975 | 61425 | 4 | days | 21 | 1346.63 | 113116.5 | 4 | days | 23 | 1100 | 101200
| Skilled Helpers/cladder |  |  | 6 | days | 21 | 825 | 103950 | 6 | days | 21 | 1168.5 | 147231 | 6 | days | 23 | 1000 | 138000
| Sub-Total |  |  | 19 |  |  |  | 423675 | 18 |  |  |  | 504385.88 | 16 |  |  |  | 427800
G. | LABOR COSTING FOR TESTING AND MONITORING
| Project Engineer/Quality Officer |  |  | 1 | days | 5 | 1500 | 7500 | 1 | days | 5 | 1692.19 | 8460.94 | 1 | days | 5 | 1500 | 7500
| Safety Officer |  |  | 1 | days | 5 | 1350 | 6750 | 1 | days | 5 | 1514.06 | 7570.31 | 1 | days | 5 | 1400 | 7000
| Fabricators/Fitter |  |  | 1 | days | 5 | 900 | 4500 | 2 | days | 5 | 1346.63 | 13466.25 | 1 | days | 5 | 1300 | 6500
| Welders |  |  | 1 | days | 5 | 975 | 4875 | 2 | days | 5 | 1346.63 | 13466.25 | 1 | days | 5 | 1100 | 5500
|  | Skilled helper |  | 1 | days | 5 | 825 | 4125 | 4 | days | 5 | 1168.5 | 23370 | 3 | days | 5 | 1000 | 15000
| Sub-Total |  |  | 5 |  |  |  | 27750 | 10 |  |  |  | 66333.75 | 7 |  |  |  | 41500
H. | CARI
| 0.3% of Total Project Cost | [6 empty] | 8026.5375 |  |  |  |  | 12413.16 |  |  |  |  | 8340.9
I. | Administrative | [6 empty] | 133775.625 |  |  |  |  | 171887.75 |  |  |  |  | 139015
Summary:
| General Requirements | [6 empty] | 272847.5 |  |  |  |  | 277060 |  |  |  |  | 429000
| Material cost | [6 empty] | 1854640 |  |  |  |  | 2459053.5 |  |  |  |  | 1684000
| Labor cost | [6 empty] | 548025 |  |  |  |  | 701641.5 |  |  |  |  | 667300
| Mark-up / profit | [6 empty] | 401326.875 |  |  |  |  | 515663.25 |  |  |  |  | 417045
| GRAND TOTAL COST (VAT Exclusive) | [6 empty] | 3218641.5375 |  |  |  |  | 4137719.16 |  |  |  |  | 3344700.9
| COMPLETION |  |  | 40 working days |  |  |  |  | 40 working days |  |  |  |  | 40 working days
| GRAND TOTAL | [5 empty] | Php | 3218641.5375 |  |  |  | Php | 4137719.16 |  |  |  | Php | 3344700.9 |  |  |  |  | Php | 0
Prepared by:
WELLERT G. EGUIA
Project Engineer
Noted by:
MARK ANTHONY P. PANA
Project Head

## final bids (in-house + contr
F O R M S
BID BREAKDOWN DATA SHEET
PROJECT TITLE: | [21 empty] | Date: | 2023-07-24
SUPPLY OF MATERIALS, LABOR, CONSUMABLES, TOOLS, TECHNICAL SUPERVISION, TESTING AND COMMISSIONING FOR THE PROPOSED E54 Upgradation of SIR System - SIR Tank improvements and rationalization of clarifiers
COST CENTER: | [21 empty] | Reference:
Final bids (in-house) + final bids (contractors)
|  |  |  | In-House |  |  |  |  | Megantech |  |  |  |  | G&R |  |  |  |  | MOBI | FEDCON
ITEM NO. | DESCRIPTION |  |  | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT |  | Man'r | Unit | Qty | UNIT COST | AMOUNT
A. | GENERAL REQUIREMENTS | [17 empty] | Not included in the technical reconciliation | Not included in the technical reconciliation
1 | Mobilization/Temfacil/Housing, Personnel travel, etc. |  |  |  | lot | 1 | 50000 | 50000 |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 100000 | 100000
| Demobilization |  |  |  | lot | 1 | 30000 | 30000 |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 50000 | 50000
2 | Safety Provisions | [13 empty] | lot | 1 | 30000 | 30000
| a. Rubber Gloves |  |  |  | pairs | 36 | 25 | 900 |  | pairs | 36 | 185 | 6660 |  | pairs |  |  | 0
| b. Dust Mask N95 |  |  |  | bxs | 30 | 187.5 | 5625 |  | bxs | 30 | 550 | 16500 |  | bxs |  |  | 0
| c. Caution Tape |  |  |  | roll | 2 | 1500 | 3000 |  | roll | 2 | 2800 | 5600 |  | roll |  |  | 0
| d. Safety Signages |  |  |  | lot | 1 | 12500 | 12500 |  | lot | 1 | 3000 | 3000 |  | lot |  |  | 0
| e. Fire Blanket (Size: 2m x 2m, temperatures up to 500°C Maximum) |  |  |  | pcs | 4 | 5000 | 20000 |  | pcs | 4 | 4500 | 18000 |  | pcs |  |  | 0
| f. Welding blanket Size: 2m x 2m, Minimum Type Rating = Heavy Duty = 1200 - 1500°C) |  |  |  | pcs | 4 | 5000 | 20000 |  | pcs | 4 | 4500 | 18000 |  | pcs |  |  | 0
3 | Tools & Equipment Rentals
| GTAW or Tig welding machine |  |  |  | unit | 4 | 5000 | 20000 |  | unit | 4 | 7500 | 30000 |  | unit | 3 | 15000 | 45000
| Portable Grinders 7"Ø with double insulation standard |  |  |  | unit | 2 | 3125 | 6250 |  | unit | 2 | 2500 | 5000 |  | unit | 2 | 10000 | 20000
| Portable Grinders 4"Ø with double insulation standard |  |  |  | unit | 3 | 1857 | 5571 |  | unit | 3 | 1200 | 3600 |  | unit | 4 | 7000 | 28000
| Extension wire |  |  |  | unit | 4 | 2500 | 10000 |  | unit | 4 | 2800 | 11200 |  | unit | 3 | 4000 | 12000
| Hand Tools (Complete set of combination wrenches) metric and english standard |  |  |  | lot | 1 | 1500 | 1500 |  | lot | 1 | 8500 | 8500 |  | lot | 1 | 5000 | 5000
| Welding Panel (both for 440 and 220 volts supply ) |  |  |  | unit | 1 | 6250 | 6250 |  | unit | 1 | 5000 | 5000 |  | unit | 1 | 20000 | 20000
| Scaffolding with blind caps |  |  |  | lot | 1 | 31250 | 31250 |  | lot | 1 | 45000 | 45000 |  | lot | 1 | 40000 | 40000
| Chain block (1/2 T) with complete accessories |  |  |  | lot | 1 | 3750 | 3750 |  | lot | 1 | 5000 | 5000 |  | lot | 2 | 5000 | 10000
| Enclosure (scaffolding and tarp) |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 3000 | 3000
| Lighting |  |  |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 5000 | 5000
| Exhaust fan with duct and filte box |  |  |  | lot | 1 | 3500 | 3500 |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 8000 | 8000
| Supply fan |  |  |  | lot | 1 | 2500 | 2500 |  | lot | 1 | 8500 | 8500 |  | lot | 1 | 3000 | 3000
| Pipe Bender |  |  |  | lot | 1 | 1500 | 1500 |  | lot | 1 | 2500 | 2500 |  | lot | 1 | 30000 | 30000
| Asbuilt drawing |  |  |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 20000 | 20000
| Hygiene uniforms | [13 empty] | lot | 1 | 20000 | 20000
| Sub-Total | [6 empty] | 254096 |  |  |  |  | 277060 |  |  |  |  | 449000
B. | Improvement of SIR tank platform and railings
Main Scope 01 - Weighing system + SIR Tank improvements
1 | SS304 2mm thk Cladding with preformed rockwool insulation 50mm thk x 1m (tank cladding) |  |  |  | lot | 1 | 30000 | 30000 |  | lot | 1 | 120000 | 120000 |  | lot | 1 | 150000 | 150000
2 | SS304 Pipe 150mm dia. X sch. 40 x 6m, see drawing detail of elevation (tank leg) |  |  |  | Lngth | 2 | 43200 | 86400 |  | Lngth | 2 | 58514.5 | 117029 |  | Lngth | 1 | 50000 | 50000
3 | SS304 Pipe 100mm dia. X sch. 40 x 6m, see drawing detail of elevation (tank leg) |  |  |  | Lngth | 2 | 24000 | 48000 |  | Lngth | 2 | 33341 | 66682 |  | Lngth | 1 | 35000 | 35000
4 | Pedestal, see drawing detail of elevation (tank leg) |  |  |  | pcs | 3 | 15000 | 45000 |  | pcs | 3 | 27500 | 82500 |  | pcs | 3 | 30000 | 90000
5 | SS304 Plate 20mm thk, see drawing detail of lifting lug (test stone lifting lug) |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 65000 | 65000 |  | lot | 1 | 35000 | 35000
6 | SS304 Doubler Plate 8mm thk, see drawing detail of lifting lug (test stone lifting lug) |  |  |  | lot | 1 | 8000 | 8000 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 15000 | 15000
7 | SS304 Ball valve "brand: valtaco", see drawing detail of drain (sampling valve) NPI TO SUPPLY
8 | SS304 Plate 15mm thk, see drawing detail of leg bracket detail (load cell bracket) |  |  |  | lot | 1 | 13000 | 13000 |  | lot | 1 | 45000 | 45000 |  | lot | 1 | 60000 | 60000
9 | SS304 Plate 12mm thk, see drawing detail of leg bracket detail (load cell bracket) |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 42000 | 42000 |  | lot | 1 | 15000 | 15000
10 | SS304 Plate 10mm thk, see drawing detail of leg bracket detail (load cell bracket) |  |  |  | lot | 1 | 8000 | 8000 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 15000 | 15000
11 | SS304 Doubler Plate 8mm thk, see drawing detail of leg bracket detail (load cell bracket) |  |  |  | lot | 1 | 8000 | 8000 |  | lot | 1 | 22500 | 22500 |  | lot | 1 | 15000 | 15000
12 | SS304 Bolt M24 and nut, see drawing detail of leg bracket (load cell bracket) |  |  |  | lot | 1 | 7500 | 7500 |  | lot | 1 | 15200 | 15200 |  | lot | 1 | 5000 | 5000
13 | SS304 Plate 20mm thk, see drawing detail of item 2 (tank leg plate) |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 55000 | 55000 |  | lot | 1 | 10000 | 10000
14 | SS304 Bolt 25mm dia, see drawing detail of item 2 (tank leg adjusting bolt) |  |  |  | lot | 1 | 9000 | 9000 |  | lot | 1 | 28000 | 28000 |  | lot | 1 | 5000 | 5000
15 | SS304 Plate 20mm thk, see drawing detail of item 2 (tank leg adjusting bolt plate) |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 65000 | 65000 |  | lot | 1 | 15000 | 15000
16 | SS304 Plate 23mm thk, see drawing detail of item 3 (tank leg adjuster) |  |  |  | lot | 1 | 14000 | 14000 |  | lot | 1 | 22000 | 22000 |  | lot | 1 | 15000 | 15000
17 | SS304 Rod 73mm dia, see drawing detail of item 3 (tank leg adjuster) |  |  |  | lot | 1 | 6000 | 6000 |  | lot | 1 | 65323.5 | 65323.5 |  | lot | 1 | 15000 | 15000
18 | Food grade, high temp and chemical resistance manhole, see drawing detail of manhole |  |  |  | lot | 1 | 75000 | 75000 |  | lot | 1 | 85000 | 85000 |  | lot | 1 | 10000 | 10000
19 | Tank dish head assembly |  |  |  | lot | 1 | 350000 | 350000 | [6 empty] | lot | 1 | 350000 | 350000
| Sub-Total | [6 empty] | 747900 |  |  |  |  | 946234.5 |  |  |  |  | 905000
Sub Scope 01 - Replacement of flooring, installation of toe board and replacement of railing system
1 | SS304 Checkered plate 6mm thk x 4' x 8' (flooring and toeboard) |  |  |  | Sht | 7 | 35000 | 245000 |  | Sht | 7 | 68887.5 | 482212.5 |  | Sht | 4 | 36000 | 144000
2 | SS304 Flat bar 50mm x 10mm thk x 6m (post and mid-rail) |  |  |  | Lngth | 6 | 7500 | 45000 |  | Lngth | 6 | 3674 | 22044 |  | Lngth | 3 | 8000 | 24000
3 | SS304 IDF Tube 50mm dia. x 6 (frame hand rail) |  |  |  | Lngth | 5 | 7500 | 37500 |  | Lngth | 5 | 13750 | 68750 |  | Lngth | 1 | 3000 | 3000
4 | SS304 Flat bar 150mmx6mx5mm thk | [13 empty] | Lngth | 1 | 8000 | 8000
| Sub-Total | [6 empty] | 327500 |  |  |  |  | 573006.5 |  |  |  |  | 179000
Sub Scope 02 - Repainting of existing platform framing
1 | Painting |  |  |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 21000 | 21000 |  | lot | 1 | 10000 | 10000
2 | Cap brush |  |  |  | lot | 1 | 8000 | 8000 |  | lot | 1 | 2500 | 2500 |  | lot | 1 | 5000 | 5000
| Sub-Total | [6 empty] | 33000 |  |  |  |  | 23500 |  |  |  |  | 15000
Sub Scope 03 - Replacement of maintenance platform
1 | SS304 Checkered plate 6mm thk x 4' x 8' (flooring and toeboard) |  |  |  | Sht | 1 | 57500 | 57500 |  | Sht | 1 | 68887.5 | 68887.5 |  | Sht | 2 | 36000 | 72000
| railings, toe board and monkey ladder | [13 empty] | lot | 1 | 20000 | 20000
| Sub-Total | [6 empty] | 57500 |  |  |  |  | 68887.5 |  |  |  |  | 92000
Sub Scope 04 - Installation of metallic flexible joints and repiping
1 | SS304 flexible hose 1.5" dia. |  |  |  | pcs | 5 | 10000 | 50000 |  | pcs | 5 | 3800 | 19000 |  | pcs | 2 | 5000 | 10000
2 | SS304 SMS union 2" dia. |  |  |  | pcs | 6 | 2800 | 16800 |  | pcs | 6 | 2310 | 13860 |  | pcs | 4 | 5000 | 20000
3 | SS304 elbow 1.5" dia. Sch40 |  |  |  | pcs | 6 | 800 | 4800 |  | pcs | 6 | 325 | 1950 |  | pcs | 4 | 2000 | 8000
4 | SS304 pipe 1.5" dia. Sch40 |  |  |  | lngth | 3 | 21600 | 64800 |  | lngth | 3 | 7975 | 23925 |  | lngth | 1 | 7000 | 7000
| Sub-Total | [6 empty] | 136400 |  |  |  |  | 58735 |  |  |  |  | 45000
Sub Scope 05 - Extension of pipes and improvement of stirrer
1 | SS304 IDF tube 5" dia. |  |  |  | lngth | 1 | 25000 | 25000 |  | lngth | 1 | 42350 | 42350 |  | lngth | 3 | 50000 | 150000
2 | SS304 Plate 4mm thk x 4' x 8' (fabrication of tank head, dished type) |  |  |  | sht | 1 | 22420 | 22420 |  | sht | 1 | 143000 | 143000 |  | sht | 1 | 24000 | 24000
| Sub-Total | [6 empty] | 47420 |  |  |  |  | 185350 |  |  |  |  | 174000
Sub Scope 06 - Installation of tagging
1 | Tagging of tank, stirrer, pump, piping and platform |  |  |  | lot | 1 | 35000 | 35000 |  | lot | 1 | 8000 | 8000 |  | lot | 1 | 20000 | 20000
| Sub-Total | [6 empty] | 35000 |  |  |  |  | 8000 |  |  |  |  | 20000
C. | Rationalization of clarifiers
Main Scope 01 - Clarifiers improvements
Blowdown pipes improvements
1 | SS304 IDF tube 4" dia. |  |  |  | Lngth | 3 | 20000 | 60000 |  | Lngth | 3 | 27500 | 82500 |  | Lngth | 4 | 40000 | 160000
2 | SS304 Manual diverter valve 4" dia. |  |  |  | pcs | 2 | 16000 | 32000 |  | pcs | 2 | 65000 | 130000 |  | pcs | 2 | 20000 | 40000
3 | SS304 SMS union 4" dia. |  |  |  | pcs | 12 | 5600 | 67200 |  | pcs | 12 | 4620 | 55440 |  | pcs | 6 | 8000 | 48000
4 | SS304 Plate 10mm thk (support plate) |  |  |  | lot | 1 | 12000 | 12000 |  | lot | 1 | 35500 | 35500 |  | lot | 1 | 20000 | 20000
5 | SS304 IDF elbow 4" dia. |  |  |  | pcs | 6 | 1300 | 7800 |  | pcs | 6 | 1347.5 | 8085 |  | pcs | 5 | 5000 | 25000
6 | SS304 Rod and hook 10mm dia. (pipe support) |  |  |  | lot | 8 | 30000 | 240000 |  | lot | 8 | 8500 | 68000 |  | lot | 1 | 10000 | 10000
7 | BFM (inlet connection of tanks) |  |  |  | pcs | 8 | 10000 | 80000 |  | pcs | 8 | 15000 | 120000 |  | pcs | 14 | 5000 | 70000
8 | BFM Clamp (inlet connection of tanks) |  |  |  | pcs | 8 | 5000 | 40000 |  | pcs | 8 | 2250 | 18000 |  | pcs | 7 | 8000 | 56000
9 | SS 304 IDF Tube 8" dia. |  |  |  | Lngth | 0 | 0 | 0 | [6 empty] | lot | 1 | 80000 | 80000
Clarifier inlet pipes improvements
1 | SS304 IDF tube 4" dia. |  |  |  | Lngth | 2 | 20000 | 40000 |  | Lngth | 2 | 27500 | 55000 |  | Lngth | 2 | 40000 | 80000
2 | SS304 IDF elbow 4" dia. |  |  |  | pcs | 6 | 1300 | 7800 |  | pcs | 6 | 1347.5 | 8085 |  | pcs | 4 | 5000 | 20000
3 | SS304 IDF tee 4" dia. |  |  |  | pcs | 4 | 1200 | 4800 |  | pcs | 4 | 1815 | 7260 |  | pcs | 4 | 6000 | 24000
| Sub-Total | [6 empty] | 591600 |  |  |  |  | 587870 |  |  |  |  | 633000
D. | CONSUMABLES FOR DOC. NO. 04,05,07,09,12,25 & 27
1 | Cutting Discs, 7"Ø, "Tyrolit" brand, 8,600 rated rpm |  |  |  | pcs | 50 | 260 | 13000 |  | pcs | 50 | 142 | 7100 |  | pcs | 30 | 260 | 7800
2 | Cutting Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm |  |  |  | pcs | 100 | 160 | 16000 |  | pcs | 100 | 95 | 9500 |  | pcs | 300 | 160 | 48000
3 | Grinding Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm |  |  |  | pcs | 30 | 160 | 4800 |  | pcs | 30 | 195 | 5850 |  | pcs | 20 | 160 | 3200
4 | Tungsten Rod |  |  |  | pcs | 12 | 50 | 600 |  | pcs | 12 | 210 | 2520 |  | pcs | 40 | 50 | 2000
5 | SS304 Filler Rod |  |  |  | kgs | 30 | 500 | 15000 |  | kgs | 30 | 755 | 22650 |  | kgs | 30 | 500 | 15000
6 | Tig cleene |  |  |  | jar | 3 | 2500 | 7500 |  | jar | 3 | 2800 | 8400 |  | jar | 2 | 2500 | 5000
7 | Argon Gas |  |  |  | cyl | 10 | 3500 | 35000 |  | cyl | 10 | 3200 | 32000 |  | cyl | 30 | 3500 | 105000
8 | Sand Paper, # 120 |  |  |  | pcs | 50 | 30 | 1500 |  | pcs | 50 | 28 | 1400 |  | pcs | 50 | 30 | 1500
9 | Sand Paper, # 400 |  |  |  | pcs | 50 | 30 | 1500 |  | pcs | 50 | 32 | 1600 |  | pcs | 50 | 30 | 1500
10 | Flap Wheel, 4"Ø |  |  |  | pcs | 10 | 350 | 3500 |  | pcs | 10 | 250 | 2500 |  | pcs | 50 | 350 | 17500
11 | Drill bit |  |  |  | lot | 1 | 3000 | 3000 |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 3000 | 3000
12 | Sika flex (gray) |  |  |  | Tube | 15 | 3000 | 45000 |  | Tube | 15 | 850 | 12750 |  | Tube | 2 | 3000 | 6000
13 | Miscelleneous |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 15000 | 15000 |  | lot | 1 | 10000 | 10000
| Sub-Total | [6 empty] | 156400 |  |  |  |  | 126270 |  |  |  |  | 225500
E. | LABOR COSTING FOR FABRICATION
| Project Engineer |  |  | 1 | days | 14 | 1000 | 14000 | 1 | days | 15 | 1692.19 | 25382.81 | 1 | days | 30 | 1500 | 45000
| Quality Officer |  |  | 1 | days | 14 | 900 | 12600 | 1 | days | 3 | 1514.06 | 4542.19 | 1 | days | 30 | 1400 | 42000
| Fabricators/Fitter |  |  | 4 | days | 14 | 600 | 33600 | 2 | days | 15 | 1346.63 | 40398.75 | 2 | days | 30 | 1300 | 78000
| Welders |  |  | 4 | days | 14 | 650 | 36400 | 3 | days | 15 | 1346.63 | 60598.13 | 4 | days | 30 | 1100 | 132000
| Sub-Total |  |  | 10 |  |  |  | 96600 | 7 |  |  |  | 130921.88 | 8 |  |  |  | 297000
F. | LABOR COSTING FOR INSTALLATION (with overtime)
| Project Engineer |  |  | 1 | days | 21 | 1500 | 31500 | 1 | days | 21 | 1692.19 | 35535.94 | 2 | days | 30 | 1500 | 90000
| Quality Officer |  |  | 2 | days | 21 | 1350 | 56700 | 1 | days | 21 | 1514.06 | 31795.31 | 2 | days | 30 | 1400 | 84000
| Safety Officer |  |  | 2 | days | 21 | 1350 | 56700 | 1 | days | 21 | 1514.06 | 31795.31 | 2 | days | 30 | 1400 | 84000
| Foreman |  |  | 2 | days | 21 | 1350 | 56700 | 1 | days | 21 | 1514.06 | 31795.31 | 2 | days | 30 | 1300 | 78000
| Fabricators/Fitter |  |  | 3 | days | 21 | 900 | 56700 | 4 | days | 21 | 1346.63 | 113116.5 | 4 | days | 30 | 1300 | 156000
| Welders |  |  | 3 | days | 21 | 975 | 61425 | 4 | days | 21 | 1346.63 | 113116.5 | 8 | days | 30 | 1100 | 264000
| Skilled Helpers/cladder |  |  | 6 | days | 21 | 825 | 103950 | 6 | days | 21 | 1168.5 | 147231 | 12 | days | 30 | 1000 | 360000
| Sub-Total |  |  | 19 |  |  |  | 423675 | 18 |  |  |  | 504385.88 | 32 |  |  |  | 1116000
G. | LABOR COSTING FOR TESTING AND MONITORING
| Project Engineer/Quality Officer |  |  | 1 | days | 5 | 1500 | 7500 | 1 | days | 5 | 1692.19 | 8460.94 | 2 | days | 5 | 1500 | 15000
| Safety Officer |  |  | 1 | days | 5 | 1350 | 6750 | 1 | days | 5 | 1514.06 | 7570.31 | 2 | days | 5 | 1400 | 14000
| Fabricators/Fitter |  |  | 1 | days | 5 | 900 | 4500 | 2 | days | 5 | 1346.63 | 13466.25 | 2 | days | 5 | 1300 | 13000
| Welders |  |  | 1 | days | 5 | 975 | 4875 | 2 | days | 5 | 1346.63 | 13466.25 | 2 | days | 5 | 1100 | 11000
|  | Skilled helper |  | 1 | days | 5 | 825 | 4125 | 4 | days | 5 | 1168.5 | 23370 | 6 | days | 5 | 1000 | 30000
| Sub-Total |  |  | 5 |  |  |  | 27750 | 10 |  |  |  | 66333.75 | 14 |  |  |  | 83000
H. | CARI
| 0.3% of Total Project Cost | [6 empty] | 8804.523 |  |  |  |  | 12842 |  |  |  |  | 12163.5
I. | Administrative | [6 empty] | 146742.05 |  |  |  |  | 177827.75 |  |  |  |  | 202725
Summary:
| General Requirements | [6 empty] | 254096 |  |  |  |  | 277060 |  |  |  |  | 449000
| Material cost | [6 empty] | 2132720 |  |  |  |  | 2577853.5 |  |  |  |  | 2109500
| Labor cost | [6 empty] | 548025 |  |  |  |  | 701641.5 |  |  |  |  | 1496000
| Mark-up / profit | [6 empty] | 440226.15 |  |  |  |  | 533483.25 |  |  |  |  | 608175
| GRAND TOTAL COST (VAT Exclusive) | [6 empty] | 3530613.723 |  |  |  |  | 4280708 |  |  |  |  | 4877563.5
| COMPLETION |  |  | 40 working days |  |  |  |  | 41 working days |  |  |  |  | 65 working days
| GRAND TOTAL | [5 empty] | Php | 3530613.723 |  |  |  | Php | 4280708 |  |  |  | Php | 4877563.5 |  |  |  |  | Php | 0
Prepared by:
WELLERT G. EGUIA
Project Engineer
Noted by:
MARK ANTHONY P. PANA
Project Head

## Reconciled Qty with Contr's amt (hidden)
PROJECT |  | : | Installation of AHU Dehumidifier and Fabrication and Installation of Pipe Lines for Steam and Condensate and Chilled Water Supply and Return and Relocation of Coffee Transport Pipe
SUBJECT |  | : | Reconciled Contractor's Bid
DATE |  | : | October 13, 2015
PR Number |  | : | 735238129
Doc. Control |  | : |  | USING AGREED QUANTITY BUT VENDOR'S UNIT COST
ITEM NO. | DESCRIPTION |  |  | Man'r | Unit | Qty | UNIT COST | AMOUNT
Prepared by:
Oscar M. Sta. Maria, Jr.
|  | TBMC |  |  | - Reconciled quantity
Noted by:
Arnel C. Lopez |  |  | Merachell Escobido
Project Engineer / NPI |  |  | Strategic Buyer / NPI
Confirmed by: ________________________
O & J