## original quote
F O R M S
BID BREAKDOWN DATA SHEET
PROJECT TITLE: | [24 empty] | Date: | 2023-10-13
SUPPLY OF MATERIALS, LABOR, CONSUMABLES, TOOLS, TECHNICAL SUPERVISION, TESTING AND COMMISSIONING FOR THE PROPOSED E45 Upgradation of SIR System - Installation of hot water line
COST CENTER: | [24 empty] | Reference:
Original Quote (In-house) + Original Quote (Contractors)
|  |  | In-House |  |  |  |  | RHAJTEK |  |  |  |  | APCI |  |  |  |  | O&J |  |  |  |  | FEDCON
ITEM NO. | DESCRIPTION |  | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT
A. | GENERAL REQUIREMENTS
1 | Mobilization/Temfacil/Housing, Personnel travel, etc. |  |  | lot | 1 | 20000 | 20000 |  | lot | 1 | 224200 | 224200 |  | lot | 1 | 134214.3623 | 134214.3623 |  | lot | 1 | 30000 | 30000 |  | lot | 1 | 30000 | 30000
| House rental | [7 empty] | lot | 1 |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
| Safety and health requirements | [7 empty] | lot | 1 |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
| Scaffolding | [7 empty] | lot | 1 |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
| Tools and equipments | [7 empty] | lot | 1 |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
| Delivery of materials at Nestle CDO | [7 empty] | lot | 1 |  | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
| Demobilization |  |  | lot | 1 | 20000 | 20000 |  | lot | 1 | 118000 | 118000 |  | lot | 1 | 77114.3623 | 77114.3623 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 30000 | 30000
2 | Safety Provisions |  |  | lot | 1 | 20000 | 20000 |  | lot | 1 | 35400 | 35400 |  | lot | 1 | 108720 | 108720 |  | lot | 1 | 35000 | 35000 |  | lot | 1 | 120000 | 120000
3 | Tools & Equipment Rentals |  |  | lot | 1 | 60000 | 60000 |  | lot | 1 | 82600 | 82600 |  | lot | 1 | 77465 | 77465 |  | lot | 1 | 15000 | 15000 |  | lot | 1 | 80000 | 80000
| Scaffolding and structural analysis | [12 empty] | lot | 0 | 0 | 0 |  | lot | 1 | 65000 | 65000 |  | lot | 0 | 0
| Sub-Total | [5 empty] | 120000 |  |  |  |  | 460200 |  |  |  |  | 320048.7246 |  |  |  |  | 170000 |  |  |  |  | 260000
B. | Materials
1 | SS304 seamless pipe 1" dia. X sch40 x 6m |  |  | Lngth | 10 | 6800 | 127500 |  | Lngth | 18 | 5900 | 106200 |  | Lngth | 34 | 3750 | 127500 |  | Lngth | 11 | 7200 | 79200 |  | Lngth | 31 | 7350 | 227850
2 | SS304 seamless elbow 1" dia. X sch40 x 6m |  |  | pcs | 45 | 400 | 24804 |  | pcs | 46 | 236 | 10856 |  | pcs | 36 | 689 | 24804 |  | pcs | 24 | 330 | 7920 |  | pcs | 36 | 340 | 12240
3 | SS304 seamless equal tee 1" dia. X sch40 x 6m |  |  | pcs | 10 | 400 | 3600 |  | pcs | 10 | 531 | 5310 |  | pcs | 4 | 900 | 3600 |  | pcs | 4 | 450 | 1800 |  | pcs | 10 | 690 | 6900
4 | Rockwoll insulation 25mmthk,pre-form x 24'' L |  |  | lot | 1 | 437 | 60000 |  | lot | 1 | 64900 | 64900 |  | pcs | 340 | 437 | 148580 |  | lot | 1 | 68000 | 68000 |  | lot | 1 | 383000 | 383000
5 | SS304 cladding gauge 26 |  |  | lot | 1 | 1750 | 30000 |  | lot | 1 | 35400 | 35400 |  | pcs | 18 | 1750 | 31500 |  | lot | 1 | 75000 | 75000 |  | lot | 1 | 159800 | 159800
6 | valves and flanges (NPI to supply) |  |  | lot | 1 |  | 0 |  | lot | 1 |  | 0 |  | lot | 1 |  | 0 |  | lot | 1 |  | 0 |  | lot |  |  | 0
7 | SS304 pipe 3/4" dia x 6m |  |  | lngth | 2 | 2500 | 2700 |  | lngth | 2 | 2360 | 4720 |  | lngth | 1 | 2700 | 2700 |  | lngth | 2 | 5200 | 10400 |  | lngth | 15 | 4900 | 73500
8 | SS304 flat bar 25mm x 6mm thk x 6m |  |  | lngth | 2 | 1200 | 1600 |  | lngth | 2 | 1121 | 2242 |  | lngth | 1 | 1600 | 1600 |  | lngth | 5 | 4100 | 20500 |  | lngth | 20 | 5500 | 110000
9 | Bolt and lock nut SS304 10mm x 1 1/2'' L (dome type) complete Sets |  |  | lot | 1 | 6000 | 4608 |  | lot | 1 | 4130 | 4130 |  | sets | 128 | 36 | 4608 |  | lot | 1 | 5000 | 5000 |  | lot |  |  | 0
10 | SS304 angle bar 25mm x 25mm x 4mm thk x 6m |  |  | le | 0 | 0 | 2619.5 |  | le | 0 | 0 | 0 |  | le | 1.3 | 2015 | 2619.5 |  | le | 0 | 0 | 0 |  | lngth |  |  | 0
11 | installation of tagging (tagging NPI to supply) |  |  | lot | 1 |  | 0 |  | lot | 1 |  | 0 |  | lot | 1 |  | 0 |  | lot | 1 |  | 0 |  | lot |  |  | 0
| Sub-Total | [5 empty] | 257431.5 |  |  |  |  | 233758 |  |  |  |  | 155904 |  |  |  |  | 267820 |  |  |  |  | 973290
C. | CONSUMABLES |  |  | lot | 1 | 35000 | 35000 |  | lot | 1 | 70800 | 70800 |  | lot | 1 | 27560 | 27560 |  | lot | 1 | 210000 | 210000 |  | lot | 1 | 100000 | 100000
| Cutting Discs, 7"Ø, "Tyrolit" brand, 8,600 rated rpm | [12 empty] | pcs | 10 | 164 |  |  | pcs
| Cutting Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm | [12 empty] | pcs | 25 | 111 |  |  | pcs
| Grinding Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm | [12 empty] | pcs | 5 | 117 |  |  | pcs
| Tungsten Rod | [12 empty] | pcs | 5 | 122 |  |  | pcs
| SS304 Filler Rod | [12 empty] | kgs | 2 | 860 |  |  | kgs
| Tig cleene | [12 empty] | jar | 1 | 2150 |  |  | jar
| Argon Gas | [12 empty] | cyl | 5 | 2800 |  |  | cyl
| Sand Paper, # 120 | [12 empty] | pcs | 200 | 16 |  |  | pcs
| Flap Wheel, 4"Ø | [12 empty] | pcs | 10 | 88 |  |  | pcs
| Miscelleneous | [12 empty] | lot | 1 |  |  |  | lot
| Sub-Total | [5 empty] | 35000 |  |  |  |  | 70800 |  |  |  |  | 27560 |  |  |  |  | 210000 |  |  |  |  | 100000
D. | LABOR COSTING |  |  | lot | 1 | 300000 | 300000 |  | lot | 1 | 448400 | 448400 |  | lot | 1 | 446815.7787 | 446815.7787 |  | lot | 1 | 380000 | 380000 |  | lot | 1 | 1395000 | 1395000
| Sub-Total | [5 empty] | 300000 |  |  |  |  | 448400 |  |  |  |  | 446815.7787 |  |  |  |  | 380000 |  |  |  |  | 1395000
E. | CARI
| 0.3% of Total Project Cost | [5 empty] | 2137.2945 |  |  |  |  | 3639.47 |  |  |  |  | 2850.9855 |  |  |  |  | 1943.46 |  |  |  |  | 11458.82
F. | Administrative | [5 empty] | 35621.575 |  |  |  |  | 60657.9 |  |  |  |  | 47516.4252 |  |  |  |  | 64782 |  |  |  |  | 136414.5
Summary:
| General Requirements | [5 empty] | 120000 |  |  |  |  | 460200 |  |  |  |  | 320048.7246 |  |  |  |  | 170000 |  |  |  |  | 260000
| Material cost | [5 empty] | 292431.5 |  |  |  |  | 304558 |  |  |  |  | 183464 |  |  |  |  | 477820 |  |  |  |  | 1073290
| Labor cost | [5 empty] | 300000 |  |  |  |  | 448400 |  |  |  |  | 446815.7787 |  |  |  |  | 380000 |  |  |  |  | 1395000
| Mark-up / profit | [5 empty] | 106864.725 |  |  |  |  | 181973.7 |  |  |  |  | 142549.2755 |  |  |  |  | 97173 |  |  |  |  | 409243.5
| Contingency | [20 empty] | 32391 |  |  |  |  | 136414.5
| GRAND TOTAL COST (VAT Exclusive) | [5 empty] | 857055.0945 |  |  |  |  | 1459429.07 |  |  |  |  | 1143245.1894 |  |  |  |  | 1224109.46 |  |  |  |  | 3421821.32
| COMPLETION |  | working days |  |  |  |  | 30 working days |  |  |  |  | working days |  |  |  |  | working days |  |  |  |  | working days
| GRAND TOTAL |  |  |  |  | Php | 857055.0945 |  |  |  | Php | 1459429.07 |  |  |  | Php | 1143245.1894 |  |  |  | Php | 1224109.46 |  |  |  | Php | 3421821.32
Prepared by:
WELLERT G. EGUIA
Project Engineer
Noted by:
MARK ANTHONY P. PANA
Project Head

## final quote
F O R M S
BID BREAKDOWN DATA SHEET
PROJECT TITLE: | [24 empty] | Date: | 2023-10-13
SUPPLY OF MATERIALS, LABOR, CONSUMABLES, TOOLS, TECHNICAL SUPERVISION, TESTING AND COMMISSIONING FOR THE PROPOSED E45 Upgradation of SIR System - Installation of hot water line
COST CENTER: | [24 empty] | Reference:
Final Quote (In-house) + Final Quote (Contractors)
|  |  | In-House |  |  |  |  | RHAJTEK |  |  |  |  | APCI |  |  |  |  | O&J |  |  |  |  | FEDCON
ITEM NO. | DESCRIPTION |  | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT
A. | GENERAL REQUIREMENTS | [11 empty] | Did not join in the technical reconciliation | [9 empty] | Not included in the technical reconciliation
1 | Mobilization/Temfacil/Housing, Personnel travel, etc. |  |  | lot | 1 | 20000 | 20000 |  | lot | 1 | 237500 | 237500 | [6 empty] | lot | 1 | 30000 | 30000
| House rental | [7 empty] | lot | 1 |  | 0 | [9 empty] | 0
| Safety and health requirements | [7 empty] | lot | 1 |  | 0 | [9 empty] | 0
| Scaffolding | [7 empty] | lot | 1 |  | 0 | [9 empty] | 0
| Tools and equipments | [7 empty] | lot | 1 |  | 0 | [9 empty] | 0
| Delivery of materials at Nestle CDO | [7 empty] | lot | 1 |  | 0 | [9 empty] | 0
| Demobilization |  |  | lot | 1 | 20000 | 20000 |  | lot | 1 | 100000 | 100000 | [6 empty] | lot | 1 | 25000 | 25000
2 | Safety Provisions |  |  | lot | 1 | 20000 | 20000 |  | lot | 1 | 45000 | 45000 | [6 empty] | lot | 1 | 35000 | 35000
3 | Tools & Equipment Rentals |  |  | lot | 1 | 60000 | 60000 |  | lot | 1 | 87500 | 87500 | [6 empty] | lot | 1 | 15000 | 15000
| Scaffolding and structural analysis |  |  | lot | 1 | 40000 | 40000 |  | lot | 1 | 18750 | 18750 | [6 empty] | lot | 1 | 65000 | 65000
| Sub-Total | [5 empty] | 160000 |  |  |  |  | 488750 | [9 empty] | 170000
B. | Materials
1 | SS304 seamless pipe 1" dia. X sch40 x 6m |  |  | Lngth | 18 | 6800 | 127500 |  | Lngth | 10 | 6250 | 62500 | [6 empty] | Lngth | 18 | 7200 | 129600
2 | SS304 seamless elbow 1" dia. X sch40 x 6m |  |  | pcs | 46 | 400 | 24804 |  | pcs | 46 | 250 | 11500 | [6 empty] | pcs | 46 | 330 | 15180
3 | SS304 seamless equal tee 1" dia. X sch40 x 6m |  |  | pcs | 10 | 400 | 3600 |  | pcs | 10 | 562.5 | 5625 | [6 empty] | pcs | 4 | 450 | 1800
4 | Rockwoll insulation 25mmthk,pre-form x 24'' L |  |  | lot | 1 | 437 | 60000 |  | lot | 1 | 0 | 0 | [6 empty] | lot | 1 | 110000 | 110000
5 | SS304 cladding gauge 26 |  |  | lot | 1 | 1750 | 30000 |  | lot | 1 | 0 | 0 | [6 empty] | lot | 1 | 165000 | 165000
6 | valves and flanges (NPI to supply) |  |  | lot | 1 |  | 0 |  | lot | 1 |  | 0 | [6 empty] | lot | 1 |  | 0
7 | SS304 pipe 3/4" dia x 6m |  |  | lngth | 2 | 2500 | 2700 |  | lngth | 1 | 2500 | 2500 | [6 empty] | lngth | 2 | 5200 | 10400
8 | SS304 flat bar 25mm x 6mm thk x 6m |  |  | lngth | 2 | 1200 | 1600 |  | lngth | 2 | 1187.5 | 2375 | [6 empty] | lngth | 5 | 4100 | 20500
9 | Bolt and lock nut SS304 10mm x 1 1/2'' L (dome type) complete Sets |  |  | lot | 1 | 6000 | 4608 |  | lot | 1 | 4375 | 4375 | [6 empty] | lot | 1 | 5000 | 5000
10 | SS304 angle bar 25mm x 25mm x 4mm thk x 6m |  |  | le | 0 | 0 | 2619.5 |  | le | 0 | 0 | 0 | [6 empty] | le | 0 | 0 | 0
11 | installation of tagging (tagging NPI to supply) |  |  | lot | 1 |  | 0 |  | lot | 1 |  | 0 | [6 empty] | lot | 1 |  | 0
| Sub-Total | [5 empty] | 257431.5 |  |  |  |  | 88875 | [9 empty] | 457480
C. | CONSUMABLES |  |  | lot | 1 | 100000 | 100000 |  | lot | 1 | 62500 | 62500 | [6 empty] | lot | 1 | 255000 | 255000
| Cutting Discs, 7"Ø, "Tyrolit" brand, 8,600 rated rpm | [17 empty] | pcs
| Cutting Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm | [17 empty] | pcs
| Grinding Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm | [17 empty] | pcs
| Tungsten Rod | [17 empty] | pcs
| SS304 Filler Rod | [17 empty] | kgs
| Tig cleene | [17 empty] | jar
| Argon Gas | [17 empty] | cyl
| Sand Paper, # 120 | [17 empty] | pcs
| Flap Wheel, 4"Ø | [17 empty] | pcs
| Miscelleneous | [17 empty] | lot
| Sub-Total | [5 empty] | 100000 |  |  |  |  | 62500 | [9 empty] | 255000
D. | LABOR COSTING |  |  | lot | 1 | 300000 | 300000 | [11 empty] | lot | 1 | 380000 | 380000
| Project in charge | [7 empty] | 1 | 30 | 1875 | 56250
| Safety officer | [7 empty] | 1 | 30 | 1500 | 45000
| QA/QC inspector | [7 empty] | 1 | 30 | 1375 | 41250
| Foreman | [7 empty] | 1 | 30 | 1250 | 37500
| Fitter | [7 empty] | 1 | 30 | 1250 | 37500
| Welder | [7 empty] | 2 | 30 | 1187.5 | 71250
| Skilled/helper | [7 empty] | 5 | 30 | 1062.5 | 159375
[7 empty] | 300000 |  |  |  |  | 448125 | [9 empty] | 380000
E. | CARI
| 0.3% of Total Project Cost | [5 empty] | 2452.2945 |  |  |  |  | 3264.75 | [9 empty] | 2647.44
F. | Administrative | [5 empty] | 40871.575 |  |  |  |  | 54412.5 | [9 empty] | 88248
Summary:
| General Requirements | [5 empty] | 160000 |  |  |  |  | 488750 | [9 empty] | 170000
| Material cost | [5 empty] | 357431.5 |  |  |  |  | 151375 | [9 empty] | 712480
| Labor cost | [5 empty] | 300000 |  |  |  |  | 448125 | [9 empty] | 380000
| Mark-up / profit | [5 empty] | 122614.725 |  |  |  |  | 130590 | [9 empty] | 132372
| Contingency | [20 empty] | 44124
| GRAND TOTAL COST (VAT Exclusive) | [5 empty] | 983370.0945 |  |  |  |  | 1276517.25 | [9 empty] | 1529871.44
| COMPLETION |  | working days |  |  |  |  | 30 working days | [9 empty] | working days |  |  |  |  | working days
| GRAND TOTAL |  |  |  |  | Php | 983370.0945 |  |  |  | Php | 1276517.25 |  |  |  | Php | 0 |  |  |  | Php | 1529871.44 |  |  |  | Php | 0
Prepared by:
WELLERT G. EGUIA | [21 empty] | 1224109.46
Project Engineer
Noted by:
MARK ANTHONY P. PANA
Project Head

## Reconciled Qty with Contr's amt (hidden)
PROJECT |  | : | Installation of AHU Dehumidifier and Fabrication and Installation of Pipe Lines for Steam and Condensate and Chilled Water Supply and Return and Relocation of Coffee Transport Pipe
SUBJECT |  | : | Reconciled Contractor's Bid
DATE |  | : | October 13, 2015
PR Number |  | : | 735238129
Doc. Control |  | : |  | USING AGREED QUANTITY BUT VENDOR'S UNIT COST
ITEM NO. | DESCRIPTION |  |  | Man'r | Unit | Qty | UNIT COST | AMOUNT
Prepared by:
Oscar M. Sta. Maria, Jr.
|  | TBMC |  |  | - Reconciled quantity
Noted by:
Arnel C. Lopez |  |  | Merachell Escobido
Project Engineer / NPI |  |  | Strategic Buyer / NPI
Confirmed by: ________________________
O & J