## Cost Summary
| ITEMS | In-house | In-house |  | Megantech | Megantech |  | Fedcon | Fedcon |  | G&R | G&R | O&J | O&J | GUIDE: | REASON FOR EXCESS
I. | GENERAL REQUIREMENTS | 85800 | 8.39% | of Project Cost | 59681 | 4.265% | of Project Cost | 62560 | 4.174% | of Project Cost | Did not submit quotation |  | Not included in the technical reconciliation |  | 3-5% of Project Cost
II. | TOOLS & EQUIPMENT | 47700 | 4.664% | of Project Cost | 148750 | 10.63% | of Project Cost | 72500 | 4.837% | of Project Cost |  |  |  |  | 5-10% of Project Cost
III. | MATERIALS & CONSUMABLES | 479275 | 46.87% | of Project Cost | 607973.33 | 43.44% | of Project Cost | 746720 | 49.82% | of Project Cost
IV. | LABOR | 237300 | 49.51% | of Matls & Consumables | 263518.34 | 43.34% | of Matls & Consumables | 285375 | 38.22% | of Matls & Consumables |  |  |  |  | Approx 15-30% of III. Cost of Matls & Consumables ( Sense-check ):
|  |  |  | of general requirements+material cost+labor cost |  |  | of general requirements+material cost+labor cost |  |  | of general requirements+material cost+labor cost | [5 empty] | The formula is 5% of(general requirements+material cost+labor cost) Material cost is high due to expensive items like flanges
V. | OVERHEAD & CONTINGENCIES | 42503.75 | 5% |  | 53996.1335 | 5% |  | 116715.5 | 5% | [5 empty] | 10% of Labor
VI. | CARI | 2550.225 | 0.2494% | of Project Cost | 3239.768 | 0.2315% | of Project Cost | 5000 | 0.3336% | of Project Cost |  |  |  |  | 0.3% of Total Project Cost
VII. | TOTAL PROJECT COST | 895128.975 |  |  | 1137158.5715 |  |  | 1288870.5
VIII. | PROFIT | 127511.25 | 12.47% |  | 161988.4005 | 11.58% |  | 210087.9 | 14.02% | [5 empty] | 15% of Total Project Cost
| TOTAL | 1022640.225 |  |  | 1399447.172 |  |  | 1498958.4

## Original Bid
F O R M S
BID BREAKDOWN DATA SHEET
PROJECT TITLE: | [25 empty] | Date: | 2022-07-21
SUPPLY OF MATERIALS, LABOR, CONSUMABLES, TOOLS, TECHNICAL SUPERVISION, TESTING AND COMMISSIONING FOR THE PROPOSED E45 Upgradation of SIR System - Relocation of existing equipment
In-house (original bid) + contractors (original bid)
COST CENTER:
|  |  |  | In-House |  |  |  |  | Megantech |  |  |  |  | Fedcon |  |  |  |  | G&R |  |  |  |  | O&J
ITEM NO. | DESCRIPTION |  |  | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT
A. | GENERAL REQUIREMENTS | [17 empty] | No quotation submitted
1 | Mobilization/Temfacil/Housing, Personnel travel, etc. |  |  |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 20000 | 20000 | [6 empty] | lot | 1 | 25000 | 25000
| Demobilization |  |  |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 2500 | 2500 |  | lot | 1 | 15000 | 15000 | [6 empty] | lot | 1 | 25000 | 25000
2 | Safety Provisions
| a. Cotton Gloves |  |  |  | pairs | 150 | 35 | 5250 |  | pairs | 50 | 38.5 | 1925 |  | pairs | 44 | 20 | 880 | [6 empty] | pairs | 240 | 35 | 8400
| b. Dust Mask N95 |  |  |  | bxs | 3 | 3250 | 9750 |  | bxs | 10 | 110 | 1100 |  | bxs | 15 | 400 | 6000 | [6 empty] | bxs | 24 | 150 | 3600
| c. Caution Tape |  |  |  | roll | 1 | 650 | 650 |  | roll | 2 | 1078 | 2156 |  | roll | 4 | 1500 | 6000 | [6 empty] | roll | 1 | 680 | 680
| d. Safety Signages |  |  |  | lot | 1 | 3000 | 3000 |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 3000 | 3000 | [6 empty] | lot | 1 | 5000 | 5000
| e. Fire Blanket (Size: 2m x 2m, temperatures up to 500°C Maximum) |  |  |  | pcs | 2 | 4500 | 9000 |  | pcs | 2 | 5500 | 11000 |  | pcs | 2 | 3640 | 7280 | [6 empty] | pcs | 2 | 3500 | 7000
| f. Welding blanket Size: 2m x 2m, Minimum Type Rating = Heavy Duty = 1200 - 1500°C) |  |  |  | pcs | 2 | 6000 | 12000 |  | pcs | 2 | 5500 | 11000 |  | pcs | 2 | 3640 | 7280 | [6 empty] | pcs | 2 | 3500 | 7000
3 | Tools & Equipment Rentals
| GTAW or Tig welding machine |  |  |  | unit | 4 | 2500 | 10000 |  | unit | 3 | 7500 | 22500 |  | unit | 2 | 7500 | 15000 | [6 empty] | unit | 2 | 6000 | 12000
| Portable Grinders 7"Ø with double insulation standard |  |  |  | unit | 2 | 1800 | 3600 |  | unit | 2 | 1500 | 3000 |  | unit | 2 | 6000 | 12000 | [6 empty] | unit | 2 | 4000 | 8000
| Portable Grinders 4"Ø with double insulation standard |  |  |  | unit | 4 | 1800 | 7200 |  | unit | 3 | 750 | 2250 |  | unit | 2 | 4000 | 8000 | [6 empty] | unit | 2 | 4000 | 8000
| Extension wire |  |  |  | unit | 3 | 500 | 1500 |  | unit | 4 | 1500 | 6000 |  | unit | 3 | 1500 | 4500 | [6 empty] | unit | 2 | 4000 | 8000
| Hand Tools (Complete set of combination wrenches) metric and english standard |  |  |  | lot | 1 | 1000 | 1000 |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 3000 | 3000 | [6 empty] | lot | 2 | 1500 | 3000
| Welding Panel (both for 440 and 220 volts supply ) |  |  |  | unit | 1 | 3000 | 3000 |  | unit | 1 | 15000 | 15000 |  | unit | 1 | 5000 | 5000 | [6 empty] | unit | 1 | 10000 | 10000
| Scaffolding with blind caps |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 45000 | 45000 |  | lot | 1 | 10000 | 10000 | [6 empty] | lot | 1 | 15000 | 15000
| Asbuilt drawing | [8 empty] | lot | 1 | 45000 | 45000 |  | lot | 1 | 5000 | 5000 | [6 empty] | lot | 1 | 7500 | 7500
| Sub-Total | [6 empty] | 85950 |  |  |  |  | 208431 |  |  |  |  | 127940 | [9 empty] | 153180
B. | Sub Scope 01 - Relocation of condensate tank and pump assembly
1 | SS304 Seamless Pipe 38mm dia. x sch. 40 x 6m |  |  |  | Lngth | 1 | 15750 | 15750 |  | Lngth | 6 | 11709.5 | 70257 |  | Lngth | 2 | 18500 | 37000 | [6 empty] | Lngth | 3 | 8100 | 24300
2 | SS304 Seamless Pipe 13mm dia. x sch. 40 x 6m |  |  |  | Lngth | 1 | 7200 | 7200 |  | Lngth | 1 | 8635 | 8635 |  | Lngth | 2 | 4800 | 9600 | [6 empty] | Lngth | 3 | 4600 | 13800
3 | SS304 Elbow 38mm dia. x sch. 40 x 90 degree |  |  |  | Lngth | 3 | 300 | 900 |  | Lngth | 18 | 330 | 5940 |  | Lngth | 7 | 600 | 4200 | [6 empty] | Lngth | 12 | 290 | 3480
4 | Pump slab |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 15000 | 15000 |  | lot | 1 | 3000 | 3000 | [6 empty] | lot | 1 | 75000 | 75000
| Sub-Total | [6 empty] | 33850 |  |  |  |  | 99832 |  |  |  |  | 53800 | [9 empty] | 116580
C. | Sub Scope 02 - Relocation of steam and condensate piping and support
1 | SS304 Seamless Pipe 80mm dia. x sch. 40 x 6m |  |  |  | Lngth | 2 | 34350 | 68700 |  | Lngth | 1 | 45078 | 45078 |  | Lngth | 2 | 36500 | 73000 | [6 empty] | Lngth | 2 | 31400 | 62800
2 | SS304 Seamless Pipe 50mm dia. x sch. 40 x 6m |  |  |  | Lngth | 2 | 16912.5 | 33825 |  | Lngth | 2 | 14740 | 29480 |  | Lngth | 2 | 22800 | 45600 | [6 empty] | Lngth | 3 | 19600 | 58800
3 | SS304 Elbow 80mm dia. x sch. 40 x 90 degree |  |  |  | pcs | 4 | 600 | 2400 |  | pcs | 7 | 2205.5 | 15438.5 |  | pcs | 7 | 1500 | 10500 | [6 empty] | pcs | 8 | 1200 | 9600
4 | SS304 Elbow 50mm dia. x sch. 40 x 90 degree |  |  |  | pcs | 4 | 400 | 1600 |  | pcs | 10 | 478.5 | 4785 |  | pcs | 7 | 1000 | 7000 | [6 empty] | pcs | 12 | 450 | 5400
5 | SS304 Angle bar 38mm x 5mm x 6m (pipe support) |  |  |  | Lngth | 1 | 5310 | 5310 |  | Lngth | 2 | 7216 | 14432 |  | Lngth | 3 | 1800 | 5400 | [6 empty] | Lngth | 2 | 4900 | 9800
6 | SS304 Pipe support (bended) with lock bolt and nut |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 5460.68 | 5460.68 |  | lot | 1 | 2000 | 2000 | [6 empty] | lot | 16 | 2500 | 40000
7 | Cladding material |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 167207.04 | 167207.04 |  | lot | 1 | 52800 | 52800 | [6 empty] | lot | 1 | 180000 | 180000
| Sub-Total | [6 empty] | 131835 |  |  |  |  | 281881.22 |  |  |  |  | 196300 | [9 empty] | 366400
D. | Sub Scope 03 - Relocation of tubular heater assembly
1 | SS304 Seamless Pipe 50mm dia. x sch. 40 x 6m |  |  |  | Lngth | 4 | 7200 | 28800 |  | Lngth | 4 | 14740 | 58960 |  | Lngth | 4 | 14740 | 58960 | [6 empty] | Lngth | 5 | 19600 | 98000
2 | SS304 Elbow 50mm dia. x sch. 40 x 90 degree |  |  |  | pcs | 14 | 600 | 8400 |  | pcs | 12 | 478.5 | 5742 |  | pcs | 12 | 478.5 | 5742 | [6 empty] | pcs | 18 | 450 | 8100
| Sub-Total | [6 empty] | 37200 |  |  |  |  | 64702 |  |  |  |  | 64702 | [9 empty] | 106100
F. | Sub Scope 05 - Relocation of compressed air piping and support
1 | BI Pipe 13mm dia. x sch. 40 x 6m |  |  |  | Lngth | 2 | 7200 | 14400 |  | Lngth | 4 | 1171.5 | 4686 |  | Lngth | 4 | 1171.5 | 4686 | [6 empty] | Lngth | 1 | 4600 | 4600
2 | BI Elbow 80mm dia. x sch. 40 x 90 degree |  |  |  | pcs | 6 | 600 | 3600 |  | pcs | 6 | 264 | 1584 |  | pcs | 6 | 264 | 1584 | [6 empty] | pcs | 5 | 1200 | 6000
3 | SS304 Angle bar 38mm x 5mm x 6m (pipe support) |  |  |  | pc | 1 | 5310 | 5310 |  | pc | 1 | 7216 | 7216 |  | pc | 1 | 7216 | 7216 | [6 empty] | pc | 1 | 4900 | 4900
4 | SS304 Pipe support (bended) with lock bolt and nut |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 3371.5 | 3371.5 |  | lot | 1 | 3371.5 | 3371.5 | [6 empty] | lot | 6 | 2500 | 15000
| Sub-Total | [6 empty] | 33310 |  |  |  |  | 16857.5 |  |  |  |  | 16857.5 | [9 empty] | 30500
OTHERS
1 | SS 304 Pipe 1"ø sch. 40 x 20' long (seamless) Buttweld |  |  |  | pcs | 20 | 195 | 3900 |  | Lngth | 5 | 7232.5 | 36162.5 |  | Lngth | 0 |  | 0 | [6 empty] | Lngth | 0 |  | 0
2 | SS 304 Elbow 90˚ 1"ø sch. 40 (seamless) Buttweld |  |  |  | pcs | 100 | 115 | 11500 |  | pcs | 22 | 176 | 3872 |  | pcs | 0 |  | 0 | [6 empty] | pcs | 0 |  | 0
3 | BI Pipe 3"ø sch. 40 x 20' long (seamless) Buttweld |  |  |  | pcs | 15 | 115 | 1725 |  | Lngth | 2 | 7419.5 | 14839 |  | Lngth | 0 |  | 0 | [6 empty] | Lngth | 0 |  | 0
4 | BI Pipe 3/4"ø sch. 40 x 20' long (seamless) Buttweld |  |  |  | pcs | 25 | 180 | 4500 |  | Lngth | 3 | 1424.5 | 4273.5 |  | Lngth | 0 |  | 0 | [6 empty] | Lngth | 0 |  | 0
5 | BI Pipe 1"ø sch. 40 x 20' long (seamless) Buttweld |  |  |  | kgs | 20 | 690 | 13800 |  | Lngth | 4 | 1782 | 7128 |  | Lngth | 0 |  | 0 | [6 empty] | Lngth | 0 |  | 0
6 | BI Elbow 90˚ 3/4"ø sch. 40 (seamless) Buttweld |  |  |  | jar | 1 | 720 | 720 |  | pcs | 17 | 40.7 | 691.9 |  | pcs | 0 |  | 0 | [6 empty] | pcs | 0 |  | 0
7 | BI Elbow 90˚ 1/2"ø sch. 40 (seamless) Buttweld |  |  |  | cyl | 5 | 3900 | 19500 |  | pcs | 17 | 40.7 | 691.9 |  | pcs | 0 |  | 0 | [6 empty] | pcs | 0 |  | 0
8 | BI Elbow 90˚ 1"ø sch. 40 (seamless) Buttweld |  |  |  | pcs | 100 | 45 | 4500 |  | pcs | 22 | 40.7 | 895.4 |  | pcs | 0 |  | 0 | [6 empty] | pcs | 0 |  | 0
9 | MS Channel 2"x4"x6mm thk |  |  |  | pcs | 100 | 45 | 4500 |  | Lngth | 4 | 4873 | 19492 |  | Lngth | 0 |  | 0 | [6 empty] | Lngth | 0 |  | 0
10 | SS 304 Angle bar 2"x2"x6mm thk |  |  |  | pcs | 10 | 450 | 4500 |  | Lngth | 4 | 7216 | 28864 |  | Lngth | 0 |  | 0 | [6 empty] | Lngth | 0 |  | 0
| Sub-Total | [6 empty] | 69145 |  |  |  |  | 116910.2 |  |  |  |  | 0 | [9 empty] | 0
G. | CONSUMABLES FOR DOC. NO. 04,05,07,09,12,25 & 27
1 | Cutting Discs, 7"Ø, "Tyrolit" brand, 8,600 rated rpm |  |  |  | pcs | 20 | 195 | 3900 |  | pcs | 150 | 187 | 28050 |  | pcs | 10 | 280 | 2800 | [6 empty] | pcs | 30 | 165 | 4950
2 | Cutting Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm |  |  |  | pcs | 100 | 115 | 11500 |  | pcs | 200 | 107.8 | 21560 |  | pcs | 50 | 150 | 7500 | [6 empty] | pcs | 80 | 115 | 9200
3 | Grinding Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm |  |  |  | pcs | 15 | 115 | 1725 |  | pcs | 50 | 148.5 | 7425 |  | pcs | 15 | 150 | 2250 | [6 empty] | pcs | 40 | 115 | 4600
4 | Tungsten Rod |  |  |  | pcs | 25 | 180 | 4500 |  | pcs | 10 | 165 | 1650 |  | pcs | 5 | 180 | 900 | [6 empty] | pcs | 20 | 150 | 3000
5 | SS304 Filler Rod |  |  |  | kgs | 20 | 690 | 13800 |  | kgs | 10 | 715 | 7150 |  | kgs | 35 | 1000 | 35000 | [6 empty] | kgs | 20 | 680 | 13600
6 | Tig cleene |  |  |  | jar | 1 | 720 | 720 |  | jar | 1 | 2585 | 2585 |  | jar | 2 | 3900 | 7800 | [6 empty] | jar | 2 | 1200 | 2400
7 | Argon Gas |  |  |  | cyl | 5 | 3900 | 19500 |  | cyl | 16 | 3300 | 52800 |  | cyl | 4 | 3800 | 15200 | [6 empty] | cyl | 40 | 3900 | 156000
8 | Sand Paper, # 120 |  |  |  | pcs | 100 | 45 | 4500 |  | pcs | 50 | 27.5 | 1375 |  | pcs | 20 | 16 | 320 | [6 empty] | pcs | 50 | 40 | 2000
9 | Sand Paper, # 400 |  |  |  | pcs | 100 | 45 | 4500 |  | pcs | 50 | 27.5 | 1375 |  | pcs | 20 | 35 | 700 | [6 empty] | pcs | 50 | 40 | 2000
10 | Flap Wheel, 4"Ø |  |  |  | pcs | 10 | 450 | 4500 |  | pcs | 50 | 181.5 | 9075 |  | pcs | 20 | 455 | 9100 | [6 empty] | pcs | 30 | 40 | 1200
11 | Drill bit |  |  |  | lot | 1 | 1000 | 1000 |  | lot | 1 | 5500 | 5500 |  | lot | 1 | 2000 | 2000 | [6 empty] | lot | 20 | 25 | 500
12 | Miscelleneous |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 7619.98 | 7619.98 |  | lot | 1 | 5000 | 5000 | [6 empty] | lot | 1 | 75000 | 75000
| Sub-Total | [6 empty] | 80145 |  |  |  |  | 146164.98 |  |  |  |  | 88570 | [9 empty] | 274450
H. | LABOR COSTING FOR FABRICATION
| Project Engineer |  |  | 1 | days | 7 | 1200 | 8400 | 1 | days | 30 | 1246.88 | 37406.4 | 1 | days | 15 | 1000 | 15000 | [5 empty] | 1 | days | 15 | 1200 | 18000
| Quality Officer |  |  | 1 | days | 7 | 1050 | 7350 | 1 | days | 30 | 992.25 | 29767.5 | 1 | days | 15 | 900 | 13500 | [5 empty] | 1 | days | 15 | 1100 | 16500
| Fabricators/Fitter |  |  | 2 | days | 7 | 850 | 11900 | 2 | days | 30 | 861 | 51660 | 2 | days | 15 | 750 | 22500 | [5 empty] | 2 | days | 15 | 900 | 27000
| Welders |  |  | 2 | days | 7 | 850 | 11900 | 2 | days | 30 | 861 | 51660 | 2 | days | 15 | 750 | 22500 | [5 empty] | 2 | days | 15 | 900 | 27000
| Sub-Total |  |  | 6 |  |  |  | 39550 | 6 |  |  |  | 170493.9 | 6 |  |  |  | 73500 | [5 empty] | 6 |  |  |  | 88500
I. | LABOR COSTING FOR INSTALLATION AND RELOCATION (with overtime)
| Project Engineer |  |  | 1 | days | 3 | 1200 | 3600 | 1 | days | 5 | 1762.19 | 8810.95 | 1 | days | 10 | 1375 | 13750 | [5 empty] | 1 | days | 26 | 1200 | 31200
| Quality Officer |  |  | 1 | days | 3 | 1050 | 3150 | 1 | days | 5 | 1416.63 | 7083.15 | 1 | days | 10 | 1237.5 | 12375 | [5 empty] | 1 | days | 26 | 1100 | 28600
| Safety Officer |  |  | 1 | days | 3 | 1100 | 3300 | 1 | days | 5 | 1416.63 | 7083.15 | 1 | days | 10 | 1237.5 | 12375 | [5 empty] | 1 | days | 26 | 1100 | 28600
| Foreman |  |  | 1 | days | 3 | 980 | 2940 | 1 | days | 5 | 1594.75 | 7973.75 | 1 | days | 10 | 1168.75 | 11687.5 | [5 empty] | 0 | days | 0 | 0 | 0
| Fabricators/Fitter |  |  | 4 | days | 3 | 850 | 10200 | 4 | days | 5 | 1238.5 | 24770 | 4 | days | 10 | 1031.25 | 41250 | [5 empty] | 2 | days | 26 | 900 | 46800
| Welders |  |  | 4 | days | 3 | 850 | 10200 | 4 | days | 5 | 1238.5 | 24770 | 4 | days | 10 | 1031.25 | 41250 | [5 empty] | 2 | days | 26 | 900 | 46800
| Skilled Helpers/cladder |  |  | 2 | days | 3 | 850 | 5100 | 2 | days | 5 | 1060.38 | 10603.8 | 2 | days | 10 | 893.75 | 17875 | [5 empty] | 4 | days | 26 | 850 | 88400
| Sub-Total |  |  | 14 |  |  |  | 38490 | 14 |  |  |  | 91094.8 | 14 |  |  |  | 150562.5 | [5 empty] | 11 |  |  |  | 270400
J. | LABOR COSTING FOR TESTING AND MONITORING
| Project Engineer/Quality Officer |  |  | 1 | days | 3 | 1200 | 3600 | 1 | days | 3 | 1762.19 | 5286.57 | 1 | days | 5 | 1000 | 5000 | [5 empty] | 1 | days | 1 | 1200 | 1200
| Safety Officer |  |  | 1 | days | 3 | 1100 | 3300 | 1 | days | 3 | 1416.63 | 4249.89 | 1 | days | 5 | 900 | 4500 | [5 empty] | 1 | days | 1 | 1100 | 1100
| Quality Officer |  |  | 0 | days | 0 | 0 | 0 | [5 empty] | 0 | days | 0 | 0 | 0 | [5 empty] | 1 | days | 1 | 1100 | 1100
| Fabricators/Fitter |  |  | 1 | days | 3 | 850 | 2550 | 1 | days | 3 | 1238.5 | 3715.5 | 1 | days | 5 | 750 | 3750 | [5 empty] | 1 | days | 1 | 900 | 900
| Welders |  |  | 1 | days | 3 | 850 | 2550 | 1 | days | 3 | 1238.5 | 3715.5 | 1 | days | 5 | 750 | 3750 | [5 empty] | 1 | days | 1 | 900 | 900
|  | Skilled helper |  | 1 | days | 3 | 850 | 2550 | 1 | days | 3 | 1060.38 | 3181.14 | 1 | days | 5 | 650 | 3250 | [5 empty] | 1 | days | 1 | 850 | 850
| Sub-Total |  |  | 5 |  |  |  | 14550 | 5 |  |  |  | 20148.6 | 5 |  |  |  | 20250 | [9 empty] | 6050
K. | CARI
| 0.3% of Total Project Cost | [6 empty] | 1484.64 |  |  |  |  | 3298.818 |  |  |  |  | 2377.446 | [9 empty] | 4236.48
L. | Administrative | [6 empty] | 24744 |  |  |  |  | 54980.3 |  |  |  |  | 39624.1 | [9 empty] | 104721
Summary:
| General Requirements | [6 empty] | 85950 |  |  |  |  | 208431 |  |  |  |  | 127940 | [9 empty] | 153180
| Material cost | [6 empty] | 316340 |  |  |  |  | 609437.7 |  |  |  |  | 420229.5 | [9 empty] | 894030
| Labor cost | [6 empty] | 92590 |  |  |  |  | 281737.3 |  |  |  |  | 244312.5 | [9 empty] | 364950
| Mark-up / profit | [6 empty] | 74232 |  |  |  |  | 164940.9 |  |  |  |  | 142646.76 | [9 empty] | 157081.5
| GRAND TOTAL COST (VAT Exclusive) | [6 empty] | 595340.64 |  |  |  |  | 1439736.218 |  |  |  |  | 977130.306 | [9 empty] | 1678198.98
| COMPLETION |  |  | 13 working days |  |  |  |  | 35 working days |  |  |  |  | 25 working days | [9 empty] | 41 working days
| GRAND TOTAL | [5 empty] | Php | 595340.64 |  |  |  | Php | 1439736.218 |  |  |  | Php | 977130.306 | [8 empty] | Php | 1678198.98
Prepared by:
WELLERT G. EGUIA
Project Engineer
Noted by:
MARK ANTHONY P. PANA
Project Head

## Final Bid
F O R M S
BID BREAKDOWN DATA SHEET
PROJECT TITLE: | [25 empty] | Date: | 2022-07-09
SUPPLY OF MATERIALS, LABOR, CONSUMABLES, TOOLS, TECHNICAL SUPERVISION, TESTING AND COMMISSIONING FOR THE PROPOSED E45 Upgradation of SIR System - Relocation of existing equipment
In-house (Final bid) + contractors (Final bid)
COST CENTER:
|  |  |  | In-House |  |  |  |  | Megantech |  |  |  |  | Fedcon |  |  |  |  | G&R |  |  |  |  | O&J
ITEM NO. | DESCRIPTION |  |  | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT | Man'r | Unit | Qty | UNIT COST | AMOUNT
A. | GENERAL REQUIREMENTS | [17 empty] | Not included in the technical reconciliation |  |  |  |  | Not included in the technical reconciliation
1 | Mobilization/Temfacil/Housing, Personnel travel, etc. |  |  |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 25000 | 25000 |  | lot | 1 | 20000 | 20000
| Demobilization |  |  |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 2500 | 2500 |  | lot | 1 | 15000 | 15000
2 | Safety Provisions
| a. Cotton Gloves |  |  |  | pairs | 50 | 35 | 1750 |  | pairs | 50 | 38.5 | 1925 |  | pairs | 50 | 20 | 1000
| b. Dust Mask N95 |  |  |  | bxs | 15 | 3250 | 48750 |  | bxs | 10 | 110 | 1100 |  | bxs | 15 | 400 | 6000
| c. Caution Tape |  |  |  | roll | 2 | 650 | 1300 |  | roll | 2 | 1078 | 2156 |  | roll | 2 | 1500 | 3000
| d. Safety Signages |  |  |  | lot | 1 | 3000 | 3000 |  | lot | 1 | 5000 | 5000 |  | lot | 1 | 3000 | 3000
| e. Fire Blanket (Size: 2m x 2m, temperatures up to 500°C Maximum) |  |  |  | pcs | 2 | 4500 | 9000 |  | pcs | 2 | 5500 | 11000 |  | pcs | 2 | 3640 | 7280
| f. Welding blanket Size: 2m x 2m, Minimum Type Rating = Heavy Duty = 1200 - 1500°C) |  |  |  | pcs | 2 | 6000 | 12000 |  | pcs | 2 | 5500 | 11000 |  | pcs | 2 | 3640 | 7280
3 | Tools & Equipment Rentals
| GTAW or Tig welding machine |  |  |  | unit | 2 | 2500 | 5000 |  | unit | 3 | 7500 | 22500 |  | unit | 2 | 7500 | 15000
| Portable Grinders 7"Ø with double insulation standard |  |  |  | unit | 2 | 1800 | 3600 |  | unit | 2 | 1500 | 3000 |  | unit | 2 | 6000 | 12000
| Portable Grinders 4"Ø with double insulation standard |  |  |  | unit | 2 | 1800 | 3600 |  | unit | 3 | 750 | 2250 |  | unit | 2 | 4000 | 8000
| Extension wire |  |  |  | unit | 3 | 500 | 1500 |  | unit | 4 | 1500 | 6000 |  | unit | 3 | 1500 | 4500
| Hand Tools (Complete set of combination wrenches) metric and english standard |  |  |  | lot | 1 | 1000 | 1000 |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 3000 | 3000
| Welding Panel (both for 440 and 220 volts supply ) |  |  |  | unit | 1 | 3000 | 3000 |  | unit | 1 | 15000 | 15000 |  | unit | 1 | 5000 | 5000
| Scaffolding with blind caps |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 45000 | 45000 |  | lot | 1 | 10000 | 10000
| Asbuilt drawing |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 45000 | 45000 |  | lot | 1 | 5000 | 5000
| Hand palet (rental) |  |  |  | lot | 1 | 10000 | 10000 | [6 empty] | lot | 1 | 10000 | 10000
| Sub-Total | [6 empty] | 133500 |  |  |  |  | 208431 |  |  |  |  | 135060
B. | Sub Scope 01 - Relocation of condensate tank and pump assembly
1 | SS304 Seamless Pipe 38mm dia. x sch. 40 x 6m |  |  |  | Lngth | 5 | 15750 | 78750 |  | Lngth | 6 | 11709.5 | 70257 |  | Lngth | 5 | 18500 | 92500
2 | SS304 Seamless Pipe 13mm dia. x sch. 40 x 6m |  |  |  | Lngth | 1 | 7200 | 7200 |  | Lngth | 1 | 8635 | 8635 |  | Lngth | 1 | 4800 | 4800
3 | SS304 Elbow 38mm dia. x sch. 40 x 90 degree |  |  |  | Lngth | 14 | 300 | 4200 |  | Lngth | 18 | 330 | 5940 |  | Lngth | 14 | 600 | 8400
4 | Pump slab |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 15000 | 15000 |  | lot | 1 | 30000 | 30000
| Sub-Total | [6 empty] | 100150 |  |  |  |  | 99832 |  |  |  |  | 135700
C. | Sub Scope 02 - Relocation of steam and condensate piping and support
1 | SS304 Seamless Pipe 80mm dia. x sch. 40 x 6m |  |  |  | Lngth | 2 | 34350 | 68700 |  | Lngth | 1 | 45078 | 45078 |  | Lngth | 2 | 36500 | 73000
2 | SS304 Seamless Pipe 50mm dia. x sch. 40 x 6m |  |  |  | Lngth | 2 | 16912.5 | 33825 |  | Lngth | 2 | 14740 | 29480 |  | Lngth | 2 | 22800 | 45600
3 | SS304 Elbow 80mm dia. x sch. 40 x 90 degree |  |  |  | pcs | 7 | 600 | 4200 |  | pcs | 7 | 2205.5 | 15438.5 |  | pcs | 7 | 1500 | 10500
4 | SS304 Elbow 50mm dia. x sch. 40 x 90 degree |  |  |  | pcs | 7 | 400 | 2800 |  | pcs | 10 | 478.5 | 4785 |  | pcs | 7 | 1000 | 7000
5 | SS304 Angle bar 38mm x 5mm x 6m (pipe support) |  |  |  | Lngth | 3 | 5310 | 15930 |  | Lngth | 2 | 7216 | 14432 |  | Lngth | 3 | 5700 | 17100
6 | SS304 Pipe support (bended) with lock bolt and nut |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 5460.68 | 5460.68 |  | lot | 1 | 2000 | 2000
7 | Cladding material |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 167207.04 | 167207.04 |  | lot | 1 | 110000 | 110000
| Sub-Total | [6 empty] | 145455 |  |  |  |  | 281881.22 |  |  |  |  | 265200
D. | Sub Scope 03 - Relocation of tubular heater assembly
1 | SS304 Seamless Pipe 50mm dia. x sch. 40 x 6m |  |  |  | Lngth | 4 | 7200 | 28800 |  | Lngth | 4 | 14740 | 58960 |  | Lngth | 4 | 22800 | 91200
2 | SS304 Elbow 50mm dia. x sch. 40 x 90 degree |  |  |  | pcs | 10 | 600 | 6000 |  | pcs | 12 | 478.5 | 5742 |  | pcs | 10 | 1000 | 10000
3 | SS304 Slip-on flanges w/matching bolts and nuts DN50 |  |  |  | pair | 4 | 16000 | 16000 | [6 empty] | pairs | 4 | 6000 | 24000
| Sub-Total | [6 empty] | 50800 |  |  |  |  | 64702 |  |  |  |  | 125200
F. | Sub Scope 05 - Relocation of compressed air piping and support
1 | BI Pipe 13mm dia. x sch. 40 x 6m |  |  |  | Lngth | 2 | 7200 | 14400 |  | Lngth | 3 | 1171.5 | 3514.5 |  | Lngth | 2 | 3100 | 6200
2 | BI Elbow 80mm dia. x sch. 40 x 90 degree |  |  |  | pcs | 10 | 600 | 6000 |  | pcs | 6 | 264 | 1584 |  | pcs | 10 | 300 | 3000
3 | SS304 Angle bar 38mm x 5mm x 6m (pipe support) |  |  |  | pc | 3 | 5310 | 15930 |  | pc | 1 | 7216 | 7216 |  | pc | 3 | 5700 | 17100
4 | SS304 Pipe support (bended) with lock bolt and nut |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 3078.63 | 3078.63 |  | lot | 1 | 2500 | 2500
| Sub-Total | [6 empty] | 46330 |  |  |  |  | 15393.13 |  |  |  |  | 28800
OTHERS
1 | SS 304 Pipe 1"ø sch. 40 x 20' long (seamless) Buttweld |  |  |  | pcs | 20 | 195 | 3900 |  | Lngth | 5 | 7232.5 | 36162.5 |  | Lngth | 0 |  | 0
2 | SS 304 Elbow 90˚ 1"ø sch. 40 (seamless) Buttweld |  |  |  | pcs | 100 | 115 | 11500 |  | pcs | 22 | 176 | 3872 |  | pcs | 0 |  | 0
3 | BI Pipe 3"ø sch. 40 x 20' long (seamless) Buttweld |  |  |  | pcs | 15 | 115 | 1725 |  | Lngth | 2 | 7419.5 | 14839 |  | Lngth | 0 |  | 0
4 | BI Pipe 3/4"ø sch. 40 x 20' long (seamless) Buttweld |  |  |  | pcs | 25 | 180 | 4500 |  | Lngth | 3 | 1424.5 | 4273.5 |  | Lngth | 0 |  | 0
5 | BI Pipe 1"ø sch. 40 x 20' long (seamless) Buttweld |  |  |  | kgs | 20 | 690 | 13800 |  | Lngth | 4 | 1782 | 7128 |  | Lngth | 0 |  | 0
6 | BI Elbow 90˚ 3/4"ø sch. 40 (seamless) Buttweld |  |  |  | jar | 1 | 720 | 720 |  | pcs | 17 | 40.7 | 691.9 |  | pcs | 0 |  | 0
7 | BI Elbow 90˚ 1/2"ø sch. 40 (seamless) Buttweld |  |  |  | cyl | 5 | 3900 | 19500 |  | pcs | 17 | 40.7 | 691.9 |  | pcs | 0 |  | 0
8 | BI Elbow 90˚ 1"ø sch. 40 (seamless) Buttweld |  |  |  | pcs | 100 | 45 | 4500 |  | pcs | 22 | 40.7 | 895.4 |  | pcs | 0 |  | 0
9 | MS Channel 2"x4"x6mm thk |  |  |  | pcs | 100 | 45 | 4500 |  | Lngth | 2 | 4873 | 9746 |  | Lngth | 0 |  | 0
10 | SS 304 Angle bar 2"x2"x6mm thk |  |  |  | pcs | 10 | 450 | 4500 |  | Lngth | 0 | 0 | 0 |  | Lngth | 0 |  | 0
11 | SS Anchor bolt, base plate and sika flex | [8 empty] | lot | 1 | 22000 | 22000
| Sub-Total | [6 empty] | 69145 |  |  |  |  | 100300.2 |  |  |  |  | 0
G. | CONSUMABLES FOR DOC. NO. 04,05,07,09,12,25 & 27
1 | Cutting Discs, 7"Ø, "Tyrolit" brand, 8,600 rated rpm |  |  |  | pcs | 10 | 195 | 1950 |  | pcs | 150 | 187 | 28050 |  | pcs | 10 | 280 | 2800
2 | Cutting Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm |  |  |  | pcs | 200 | 115 | 23000 |  | pcs | 200 | 107.8 | 21560 |  | pcs | 200 | 150 | 30000
3 | Grinding Discs, 4"Ø, "Tyrolit" brand, 15,300 rated rpm |  |  |  | pcs | 30 | 115 | 3450 |  | pcs | 50 | 148.5 | 7425 |  | pcs | 30 | 150 | 4500
4 | Tungsten Rod |  |  |  | pcs | 10 | 180 | 1800 |  | pcs | 10 | 165 | 1650 |  | pcs | 10 | 180 | 1800
5 | SS304 Filler Rod |  |  |  | kgs | 30 | 690 | 20700 |  | kgs | 10 | 715 | 7150 |  | kgs | 30 | 1000 | 30000
6 | Tig cleene |  |  |  | jar | 2 | 720 | 1440 |  | jar | 1 | 2585 | 2585 |  | jar | 2 | 3900 | 7800
7 | Argon Gas |  |  |  | cyl | 16 | 3900 | 62400 |  | cyl | 16 | 3300 | 52800 |  | cyl | 16 | 3800 | 60800
8 | Sand Paper, # 120 |  |  |  | pcs | 20 | 45 | 900 |  | pcs | 50 | 27.5 | 1375 |  | pcs | 20 | 16 | 320
9 | Sand Paper, # 400 |  |  |  | pcs | 20 | 45 | 900 |  | pcs | 50 | 27.5 | 1375 |  | pcs | 20 | 35 | 700
10 | Flap Wheel, 4"Ø |  |  |  | pcs | 20 | 450 | 9000 |  | pcs | 50 | 181.5 | 9075 |  | pcs | 20 | 455 | 9100
11 | Drill bit/carbide |  |  |  | lot | 1 | 1000 | 1000 |  | lot | 1 | 5500 | 5500 |  | lot | 1 | 4000 | 4000
12 | Miscelleneous |  |  |  | lot | 1 | 10000 | 10000 |  | lot | 1 | 7619.98 | 7619.98 |  | lot | 1 | 30000 | 30000
13 | Painting works |  |  |  |  | 1 | [8 empty] | lot | 1 | 10000 | 10000
| Sub-Total | [6 empty] | 136540 |  |  |  |  | 146164.98 |  |  |  |  | 191820
H. | LABOR COSTING FOR FABRICATION
| Project Engineer |  |  | 1 | days | 15 | 1200 | 18000 | 1 | days | 30 | 1246.88 | 37406.4 | 1 | days | 15 | 1000 | 15000
| Quality Officer |  |  | 1 | days | 15 | 1050 | 15750 | 1 | days | 30 | 992.25 | 29767.5 | 1 | days | 15 | 900 | 13500
| Fabricators/Fitter |  |  | 2 | days | 15 | 850 | 25500 | 2 | days | 30 | 861 | 51660 | 2 | days | 15 | 750 | 22500
| Welders |  |  | 2 | days | 15 | 850 | 25500 | 2 | days | 30 | 861 | 51660 | 2 | days | 15 | 750 | 22500
| Sub-Total |  |  | 6 |  |  |  | 84750 | 6 |  |  |  | 170493.9 | 6 |  |  |  | 73500
I. | LABOR COSTING FOR INSTALLATION AND RELOCATION (with overtime)
| Project Engineer |  |  | 1 | days | 10 | 1200 | 12000 | 1 | days | 4 | 1762.19 | 7048.76 | 1 | days | 10 | 1750 | 17500
| Quality Officer |  |  | 1 | days | 10 | 1050 | 10500 | 1 | days | 4 | 1416.63 | 5666.52 | 1 | days | 10 | 1575 | 15750
| Safety Officer |  |  | 1 | days | 10 | 1100 | 11000 | 1 | days | 4 | 1416.63 | 5666.52 | 1 | days | 10 | 1575 | 15750
| Foreman |  |  | 1 | days | 10 | 980 | 9800 | 1 | days | 4 | 1594.75 | 6379 | 1 | days | 10 | 1487.5 | 14875
| Fabricators/Fitter |  |  | 4 | days | 10 | 850 | 34000 | 4 | days | 4 | 1238.5 | 19816 | 4 | days | 10 | 1312.5 | 52500
| Welders |  |  | 4 | days | 10 | 850 | 34000 | 4 | days | 4 | 1238.5 | 19816 | 4 | days | 10 | 1312.5 | 52500
| Skilled Helpers/cladder |  |  | 2 | days | 10 | 850 | 17000 | 2 | days | 4 | 1060.38 | 8483.04 | 2 | days | 10 | 1137.5 | 22750
| Sub-Total |  |  | 14 |  |  |  | 128300 | 14 |  |  |  | 72875.84 | 14 |  |  |  | 191625
J. | LABOR COSTING FOR TESTING AND MONITORING
| Project Engineer/Quality Officer |  |  | 1 | days | 5 | 1200 | 6000 | 1 | days | 3 | 1762.19 | 5286.57 | 1 | days | 5 | 1000 | 5000
| Safety Officer |  |  | 1 | days | 5 | 1100 | 5500 | 1 | days | 3 | 1416.63 | 4249.89 | 1 | days | 5 | 900 | 4500
| Quality Officer |  |  | 0 | days | 0 | 0 | 0 | [5 empty] | 0 | days | 0 | 0 | 0
| Fabricators/Fitter |  |  | 1 | days | 5 | 850 | 4250 | 1 | days | 3 | 1238.5 | 3715.5 | 1 | days | 5 | 750 | 3750
| Welders |  |  | 1 | days | 5 | 850 | 4250 | 1 | days | 3 | 1238.5 | 3715.5 | 1 | days | 5 | 750 | 3750
|  | Skilled helper |  | 1 | days | 5 | 850 | 4250 | 1 | days | 3 | 1060.38 | 3181.14 | 1 | days | 5 | 650 | 3250
| Sub-Total |  |  | 5 |  |  |  | 24250 | 5 |  |  |  | 20148.6 | 5 |  |  |  | 20250
K. | CARI
| 0.3% of Total Project Cost | [6 empty] | 2550.225 |  |  |  |  | 3239.768 |  |  |  |  | 5000
L. | Administrative | [6 empty] | 42503.75 |  |  |  |  | 53996.1335 |  |  |  |  | 116715.5
Summary:
| General Requirements | [6 empty] | 133500 |  |  |  |  | 208431 |  |  |  |  | 135060
| Material cost | [6 empty] | 479275 |  |  |  |  | 607973.33 |  |  |  |  | 746720
| Labor cost | [6 empty] | 237300 |  |  |  |  | 263518.34 |  |  |  |  | 285375
| Mark-up / profit | [6 empty] | 127511.25 |  |  |  |  | 161988.4005 |  |  |  |  | 210087.9
| GRAND TOTAL COST (VAT Exclusive) | [6 empty] | 1022640.225 |  |  |  |  | 1399447.172 |  |  |  |  | 1498958.4
| COMPLETION |  |  | 25 working days |  |  |  |  | 35 working days |  |  |  |  | 25 working days
| GRAND TOTAL | [5 empty] | Php | 1022640.225 |  |  |  | Php | 1399447.172 |  |  |  | Php | 1498958.4
Prepared by:
WELLERT G. EGUIA
Project Engineer
Noted by:
MARK ANTHONY P. PANA
Project Head

## Reconciled Qty with Contr's amt (hidden)
PROJECT |  | : | Installation of AHU Dehumidifier and Fabrication and Installation of Pipe Lines for Steam and Condensate and Chilled Water Supply and Return and Relocation of Coffee Transport Pipe
SUBJECT |  | : | Reconciled Contractor's Bid
DATE |  | : | October 13, 2015
PR Number |  | : | 735238129
Doc. Control |  | : |  | USING AGREED QUANTITY BUT VENDOR'S UNIT COST
ITEM NO. | DESCRIPTION |  |  | Man'r | Unit | Qty | UNIT COST | AMOUNT
Prepared by:
Oscar M. Sta. Maria, Jr.
|  | TBMC |  |  | - Reconciled quantity
Noted by:
Arnel C. Lopez |  |  | Merachell Escobido
Project Engineer / NPI |  |  | Strategic Buyer / NPI
Confirmed by: ________________________
O & J